TENDER DOCUMENT

GOVERNMENT OF MADHYA PRADESH

DEPARTMENT OF MEDICAL EDUCATION

TENDER NO.			:	CPC/MED-SURGICALITEM/13-14/08

FOR SUPPLY OF (Name of Item):	SURGICAL ITEMS (SURGICAL,SUTURE, STAPLER , RADIODIAGNOSIS ITEM )

TO GOVERNMENT / AUTONOMOUS MEDICAL COLLEGES, DENTAL COLLEGE & ASSOCIATED HOSPITALS UNDER MEDICAL EDUCATION DEPARTMENT, M.P. BHOPAL

CONTRACT DOCUMENT CONSISTING OF TENDER NOTICE, TENDER FORM, RATE SHEET, TENDER CONDITIONS, SPECIFICATIONS AND TECHNICAL PARTICULARS, FORM OF AGREEMENT ETC.

ISSUING AUTHORITY

CHAIRMAN, PURCHASE COMMITTEE &

DEAN, M.G.M MEDICAL COLLEGE,

A.B. ROAD INDORE (M.P.)

INDEX

| Sr. | Particular | Page No. |
| --- | --- | --- |
|  | Important dates | 3 |
|  | Guideline to bidders for implementation of e-procurement system | 4 |
|  | Section- I (Invitation for bid) | 8 |
|  | Section –II (Instructions to bidder) | 10 |
|  | Section –III (General Conditions of Contract) | 28 |
|  | Section –IV(Special Conditions of Contract) | 43 |
|  | Section –V (Bid Form) | 52 |
|  | Table of Annexure | 53 |
|  | Requirement of Surgical Items | 76 |

GOVERNMENT OF MADHYA PRADESH

DEPARTMENT OF MEDICAL EDUCATION

NATIONAL COMPETITIVE BIDDING FOR THE SUPPLY OF SURGICAL ITEMS

FOR GOVERNMENT / AUTONOMOUS MEDICAL COLLEGES, DENTAL COLLEGE & ASSOCIATED HOSPITALS UNDER MEDICAL EDUCATION DEPARTMENT, BHOPAL, M.P. UNDER RATE CONTRACT

BID REFERENCE				:     	CPC/MED-SURGICALITEM/13-14/08

PRE BID MEETING 			:	28.05.2013 at 11.30 a.m.

Key Dates : Single Submission MultiOpening With Prequalification

| Seq No | DME Stage | Contractor Stage | Start Date & Time | Expiry Date & Time |
| --- | --- | --- | --- | --- |
| 1 | Tender Preparation And Release of NIT | - | 15-05-2013 10:00 | 20-05-2013 17:30 |
| 2 | - | Tender Purchase - Online | 20-05-2013 17:31 | 20-06-2013 17:30 |
| 3 | - | Tender Download | 20-05-2013 17:31 | 22-06-2013 17:30 |
| 4 | - | Submit Bid - Hash Online | 20-05-2013 17:31 | 24-06-2013 17:00 |
| 5 | Close for Bidding - Generation of Super Hash | - | 25-06-2013 10:00 | 25-06-2013 17:00 |
| 6 | - | Submit Bids Online - Re-encryption | 25-06-2013 17:31 | 27-06-2013 17:00 |
| 7 | Open EMD & Technical / PQ bid | - | 29-06-2013 10:00 | 29-06-2013 17:00 |
| 8 | Open Financial / Price-Bid | - | 09-07-2013 10:00 | 23-07-2013 17:00 |

| Last date for submission of original EMD and other relevant documents is 28.06.2013 upto 17:30 pm. All key dates are tentative and subject to be changed as per procurer requirement all the information regarding this will be floated only on http://dme.mpeprocurement.gov.in portal. |  |
| --- | --- |

PLACE OF OPENING OF BIDS	 : Tender will be open online as per key dates

at http://dme.mpeprocurement.gov.in

ADDRESS FOR SUBMISSION OF 	 : Chairman, Purchase Committee & Dean

PHYSICAL TENDER DOCUMENTS 	  M.G.M. Medical College,

A.B. Road, Indore – 452 001 (M.P.)

Telephone: 0731-2526112, 2527383

Fax: 0731-2514628

Website: http://dme.mpeprocurement.gov.in , Email: cpc2013mgmmc.indore@yahoo.com,

Note: Tender can be downloaded from the website “http://dme.mpeprocurement.gov.in by making on line payment of Rs. 610/- (Rs. Six Hundred Ten only)

and

Cost of tender form in the form of DD of Rs.5,000/-  in the name of “Dean, M.G.M. Medical College, Indore” payable at Indore (M.P.) should be submitted in a separate Envelope marked “Tender Fee” along with physical documents, failing which the tender will be rejected. Email: cpc2013mgmmc.indore@yahoo.com.

GUIDELINES TO BIDDERS FOR IMPLEMENTATION OF

e-PROCUREMENT SYSTEM IN DEPARTMENT OF MEDICAL EDUCATION, GOVERNMENT OF MADHYA PRADESH

http://dme.mpeprocurement.gov.in

Note: These conditions will over-rule the conditions stated in the tender documents, wherever relevant and applicable.

- Registration of Bidders on e-Procurement System:

All the Bidders (Contractors/Vendors) registered / intending to register with DEPARTMENT OF MEDICAL EDUCATION are required to register on the e-Procurement System on the website http://mpeprocurement.gov.in and get empanelled on http://dme.mpeprocurement.gov.in in order to participate in restricted tenders processed by DEPARTMENT OF MEDICAL EDUCATION using the e-Procurement System.

The Bidders (Contractors) registered with other departments who are also eligible to participate in tenders processed by DEPARTMENT OF MEDICAL EDUCATION are also required to be registered on the e-Procurement System on http://mpeprocurement.gov.in.

Bidders who are already registered on http://mpeprocurement.gov.in can use their existing User Id to login and participate in online tenders floated by DEPARTMENT OF MEDICAL EDUCATION

Digital Certificates:

The Bids submitted online should be signed electronically with a Class III Digital Certificate to establish the identity of the Bidder submitting the Bid online. The Bidders may obtain Class III Digital Certificates issued by an approved Certifying Authority authorized by the Controller of Certifying Authorities, Government of India.

A Class III Digital Certificate is issued upon receipt of mandatory identity proofs along with an Application Form. Only upon the receipt of the required documents, a Digital Certificate can be issued.

Note: It may take up to 4 working days for issuance of Class III Digital Certificate, hence the bidders are advised to obtain them at the earliest.

The Bidders may obtain more information on Digital Certificate from

NexTenders (India) Pvt. Ltd.

A - 6, Sahyog Parisar Opp. Makhanlal Chaturvedi University,

E - 8, Shahpura,Bhopal - 462 039 (M.P.) Ph. No.: 0755 - 407 50 10

Email: Bhopal@nextenders.com

Important Note:

Bid for a particular tender can be submitted during the ONLINE BID SUBMISSION stage only using the Digital Certificate that is used to encrypt the data and sign the hash during the ONLINE BID PREPARATION AND HASH SUBMISSION stage.

In case, during the process of a particular tender, the bidder looses his Digital Certificate because of any problem (such as misplacement, virus attack, hardware problem, operating system problem, etc.); he may not be able to submit his bid online.

Hence, the bidders are advised to keep their Digital Certificates in a safe place under proper security to be used whenever required.

The digital certificate issued to the Authorized User of a Partnership firm / Private Limited Company / Public Limited Company / Joint Venture and used for online bidding will be considered as equivalent to a no-objection certificate / power of attorney to that user.

In case of Partnership Firm, majority of the Partners have to authorize a specific individual through Authority Letter signed by majority of the Partners of the firm.

In case of Private Limited Company, Public Limited Company, the Managing Director / any other Person (having designated authority to authorize a specific individual) has to authorize a specific individual through Authority Letter.

Unless the certificate is revoked, it will be assumed to represent adequate authority of the specific individual to bid on behalf of the Organization for online tenders as per Information Technology Act 2000. This Authorized User will be required to obtain a Digital Certificate. The Digital Signature executed through the use of Digital Certificate of this Authorized User will be binding on the firm. It shall be the responsibility of Management / Partners of the concerned firm to inform the Certifying Authority, if the Authorized User changes, and apply for a fresh digital certificate for the new Authorized User.

- Set Up of Bidders’ Computer System:

In order for a Bidder to operate on the e-Procurement System, the Computer System of the Bidder is required to be set up for Operating System, Internet Connectivity, Utilities, Fonts, etc. A help file on setting up of the Computer System can be obtained from e-Procurement Cell.

- Publishing of N.I.T.: For the Tenders processed using the e-Procurement System, only a brief Advertisement related to the Tender shall be published in the newspapers and the Detailed Notice shall be published only on the e-Procurement System. The contractors can view the Detailed Notice and the time schedule for all the Tenders processed using the e-Procurement System on the website http://dme.mpeprocurement.gov.in

- Key Dates: The Bidders are strictly advised to follow the time schedule (Key Dates) of the Tender for their side for tasks and responsibilities to participate in the Tender, as all the stages of each Tender are locked before the start time and date and after the end time and date for the relevant stage of the Tender as set by the concerned Department Official. However, it is advised to complete the required stage well in advance and not to wait for last date and time for processing.

- Online Processing Fee:

The Tender documents can be downloaded ONLY online. The Tender shall be available for download to the concerned eligible bidders immediately after online release of the Tender and upto the scheduled date and time as set in the key dates.

The Bidders can submit the tender documents online by making online payment of online processing fee of Rs.610/- using the service of the secure electronic payments gateway (see point 6 below for further details), and should print out the system generated receipt for their reference which can be produced whenever required. Arrangements have been made for the Bidders to make payments online (Rs.610/-) via Debit Card / Internet Banking towards online processing fee.

- Electronic Payment Account:

As the tender documents shall be available for download only online, Bidders are required to pay the online processing fee online using the Online Payments Gateway Service integrated into the e-Procurement System.

For the list of available modes of electronic payments that are presently accepted on the Online Payments Gateway Service, please check the link ‘List of e-Payments accepted Online’ on http://mpeprocurement.gov.in.

- Preparation of Bids and Submission of Bid Seals (Hashes) of Online Bids by the Bidders:

The Bidders have to prepare their Bids online, encrypt their Bid Data in the Bid Forms and submit Bid Seals (Hashes) of all the Envelopes and documents required to be uploaded related to the Tender as per the time schedule mentioned in the key dates of the Notice Inviting Tenders

Generation of Super - Hash:

After the time of submission of Bid Seal (Hash) by the Contractors has lapsed, the bid round will be closed and the concerned Department Official shall generate a Tender Super – Hash which shall be digitally signed by the Department Official.

- Decryption and Re - Encryption Bids:

Bidders have to decrypt the Bid Data with their Digital Certificate and re-encrypt the Bid Data and also upload the relevant documents using Online Briefcase feature for which they had generated the Bid Seals (Hashes) during the Bid Preparation and Hash Submission stage within the specified time as stated in the time schedule (Key Dates).

The encrypted data of only those Bidders who have submitted their Bid Seals (Hashes) within the stipulated time, as per the tender time schedule (Key Dates), will be accepted by the system. A Bidder who has not submitted Bid Seals (Hashes) within the stipulated time will not be allowed to decrypt and re-encrypt his Bid Data or upload the relevant documents.

- Submission of Earnest Money Deposit:

The Bidders shall submit their Earnest Money Deposit as usual in a physically sealed Earnest Money Deposit Envelope and the same should reach the concerned Office as stated in the Notice Inviting Tender by post.

The Bidders have to upload scanned copy of Earnest Money Deposit instrument along with the reference details.

- Opening of Tenders:

The concerned Department Official receiving the tenders or his duly authorized Officer shall first open the online Earnest Money Deposit Envelope of all the Bidders and verify the scanned copy of the Earnest Money Deposit uploaded by the Bidders. He/She shall check for the validity of Earnest Money Deposit as required. He/She shall also verify the scanned documents uploaded by the Bidders, if any, as required. In case, the requirements are incomplete, the commercial and other Envelopes of the concerned Bidders received online shall not be opened.

The concerned Official shall then open the other Envelopes submitted online by the Bidders in the presence of the Bidders or their authorized representatives who choose to be present in the order of opening.

He/She will match the Bid Seal (Hash) of each Envelope and the documents uploaded, during the respective opening, with the hash submitted by the Bidders during the Bid Preparation and Hash Submission stage. In the event of a mismatch, the Bid Data in question shall be liable for a due process of verification by the Nodal Officer of e-Procurement System of DEPARTMENT OF MEDICAL EDUCATION.

SECTION I :

INVITATION FOR BIDS (IFB)

SECTION I : INVITATION FOR BIDS (IFB)

Date: 01.05.2013                                         	  			IFB No.: CPC/MED-SURGICALITEM/13-14/08

- For the requirement of Indore, Bhopal, Jabalpur, Gwalior, Rewa & Sagar Medical Colleges, Dental College & Associated Hospitals under Medical Education Department, Government of Madhya Pradesh, Bhopal Chairman, Purchase Committee & Dean, M.G.M. Medical College Indore (M.P.) now invite online bids from eligible bidders for supply of Surgical items under Rate Contract.

- Bids may be submitted by the primary manufacturer or their authorized distributor or importer for and on behalf of the primary manufacturer provided the bid is accompanied by a duly notarized letter of authority from the primary manufacturer.

  - Price of bidding document

(Non refundable DD)				:	Rs. 5,000/-

(D.D. in favour of Dean M.G.M. Medical College, Indore payable at Indore )

  - Pre Bid Meeting					: 	……………

  - Last date and time for submission of bids		: 	As per online key dates

  - Date and time of opening of Bid (Envelope “D” & “A”) : As per online key dates

  - Place of opening of bids	 		:    at http://dme.mpeprocurement.gov.in

  - Address of communication:			Chairman, Purchase Committee & Dean,

M.G.M. Medical College,

A.B. Road, Indore (M.P.) – 452 001

- Bidders may offer their bid online for any one or more Surgical items. Bids will be evaluated for each Surgical items separately.

- Bid and bid security as specified in the bid document must be delivered as per prescribed format for online and physical submission specified in notice and tender document.

- Bids will be opened online in the presence of Bidder’s representatives who choose to attend on the specified date and time fixed for opening the bid. Envelop D containing envelop A & B documents will be opened online as well as physically, out of which envelop A will be immediately opened. Documents together with contents of envelop A will be subject to scrutiny, those bidders whose documents and contents are as per tender conditions will only be deemed qualified for opening of technical bid. The date and time of opening of technical bid (envelop B) will be made available on website within a week of opening of bid and will be communicated  online only at http://dme.mpeprocurement.gov.in

- Price bid should be submitted online only. In case price bid is submitted manually bid will be out through rejected. Cost of tender form Rs.5,000/- (in the form of DD) should be submitted in separate Envelope marked “Tender Fee”. EMD & Technical Bid will be submitted separately in separate sealed Envelopes. Technical Bid will be evaluated as per specification and National Competitive Bidding terms and conditions by the Technical Committee. Those bidders who qualify for the technical bid will be invited for demonstration whereable applicable of equipment on the day, date & place specified by R.C.A. The bidders will have to demonstrate the equipments on the date, day and place specified. Thereafter, Price Bid (Envelope C) will be opened online only for those bidders whose bid will be found technically responsive after demonstration. Opening of date of price bid will be communicated online at http://dme.mpeprocurement.gov.in hence bidder are advised to visit web portal on day to day basis.

- In the event of the date specified for bid receipt/opening being declared as closed / holiday, due date for receipt/opening of bid will be postponed online.

- Supporting documents along with original EMD and cost of tender form has to be submitted by tenderer at Chairman, Purchase Committee & Dean office, M.G.M. Medical College, Indore (M.P.) on or before the time & date of submission as mentioned above.

- Time of Completion of work within 8 weeks from the date of allotment letter.

CHAIRMAN, PURCHASE COMMITTEE &

DEAN, M.G.M MEDICAL COLLEGE,

A.B. ROAD INDORE (M.P.)

SECTION II :

INSTRUCTIONS TO BIDDER (ITB)

SECTION II: INSTRUCTIONS TO BIDDER

TABLE OF CLAUSES

| Clause No. | Topic Number | Page No. | Clause No. | Topic Number | Page No. |
| --- | --- | --- | --- | --- | --- |
|  | A. Introduction |  |  | E. Bid opening and evaluation of Bids |  |
| 1. | Scope of work | 12 | 21. | Opening of Bids by the Rate Contracting Authority | 23 |
| 2. | Eligible Bidders | 12 | 22. | Clarification of Bids | 24 |
| 3. | Eligible Goods and Services | 12 | 23. | Preliminary Examination | 24 |
| 4. | Cost of Bidding | 13 | 24. | Evaluation and Comparison of Bids | 24 |
|  |  |  | 25. | Contacting the Rate Contracting Authority | 25 |
|  | B. Bidding Documents |  |  | F. Award of Contract |  |
| 5. | Contents of Bidding Documents | 13 | 26. | Post qualification | 25 |
| 6. | Clarification of Bidding Documents | 13 | 27. | Award Criteria | 25 |
| 7. | Amendment of Bidding Documents | 14 | 28. | Purchaser’s Right to vary Quantities | 25 |
|  | C. Preparation of Bids |  | 29. | Rate Contracting Authority’s Right to Accept any Bid and to Reject any or all bids | 26 |
| 8. | Language of Bid | 14 | 30. | Notification of Rate Contract | 26 |
| 9. | Documents Comprising the Bid | 14 | 31. | Signing of Rate Contract | 26 |
| 10. | Bid Form | 15 | 32. | Performance Security & Inspection Charges | 26 |
| 11. | Bid Prices | 15 | 33. | Placement of Supply Order | 27 |
| 12. | Bid Currencies | 16 | 34. | Corrupt or Fraudulent Practices | 27 |
| 13. | Documents establishing Bidder’s Eligibility and Qualifications | 16 |  |  |  |
| 14. | Documents establishing Good eligibility and conformity to Bidding Documents | 18 |  |  |  |
| 15. | Bid Security | 18 |  |  |  |
| 16. | Period of Validity of Bids | 19 |  |  |  |
|  | D. Submission of Bids |  |  |  |  |
| 17. | Bid stages | 19 |  |  |  |
| 18. | Deadline for Submission of Bids | 22 |  |  |  |
| 19. | Late Bids | 22 |  |  |  |
| 20. | Modification and withdrawal of bids | 23 |  |  |  |

- Introduction

- Scope of Work

  - Government of M.P., Medical Education Department requires Surgical Items for various Govt. / Autonomous Medical Colleges, Dental College & Associated Hospitals of M.P. Bid is issued for procurement of Surgical Items  at competitive rates. After finalization of the bid, the contract will be awarded to successful bidders for the supply of items, during one year or till further order on rate contract basis on approved rates. The surgical items are to be supplied at various designated places like Indore, Bhopal, Jabalpur, Gwalior, Rewa & Sagar in the State of Madhya Pradesh.

  - Tenderers shall visit the site: Intending tenderer shall visit the site and make himself thoroughly acquainted with the local site condition, nature and requirements of the works, facilities of transport conditions, effective labour and materials, access and storage for materials and removal of rubbish. The rate quoted by the contractor shall take care of all contingencies required for completion of the work to the entire satisfaction of the Purchaser. The tenderer shall provide in their tender for cost of carriage, freight and other charges as also for any special difficulties and including police restriction for transport etc., for proper execution of work as indicated in the drawings. The successful tenderer will not be entitled to any claim of compensation for difficulties faced or losses incurred on account of any site condition which existed before the commencement of the work or which in the opinion of the R.C.A. might be deemed to have reasonably been inferred to be so existing before commencement of work.

- Eligible Bidders

2.1 	This invitation for Bids is open to all eligible bidders. (Please refer guideline to bidders for online eligibility mention above.)

2.2 	Bidders should not be an associate / associates, or have been associated in the past, directly or indirectly with a firm or any of its affiliates which have been engaged by the Rate Contracting Authority to provide consulting services for the preparation of the design, specifications and other documents to be used for the procurement of the goods to the Rate Contracting Authority under this Invitation of Bids.

2.3 	Government owned enterprises in the Rate Contracting Authority’s country may participate only if they are legally and financially autonomous, and only if they operate under commercial law and are not a dependent agency of the Rate Contracting Authority.

- Eligible Goods and Services

3.1 	All goods and ancillary services to be supplied under the Contract shall specify their country of origin.

3.2 	For purposes of this clause, “origin” means the place where the goods are mined, grown, or produced or from which the ancillary services are supplied. Goods are produced when, through manufacturing, processing or substantial and major assembling of components, a commercially recognized product results that is substantially different in basic characteristics or in purpose or utility from its components.

3.3 	The origin of goods and services may be distinct from the nationality of the Bidder.

- Cost of Bidding

4.1 	The Bidder shall bear all costs associated with the preparation and submission of its bid, and Chairman, Purchase Committee & Dean, M.G.M. Medical College, Indore hereinafter referred to as “The Rate Contracting Authority” will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the bidding process.

- The Bidding Documents

- Contents of Bidding Documents

5.1 	The goods required, bidding procedures and contract terms are prescribed in the Bidding Documents. In addition to the Invitation for Bids, the Bidding Documents include:

- Instructions to Bidders (ITB);

- General Conditions of Contract (GCC);

- Special Conditions of Contact (SCC);

- Bid Form;

- Annexure-I (Sales Tax Clearance Certificate);

- Annexure-II (Undertaking Form);

- Annexure-III (Declaration Form);

- Annexure-IV (Proforma for Performance Statement);

- Annexure-V (Annual Turnover Statement);

- Annexure-VI (Specifications of required Surgical Items);

- Annexure-VII (Packing Specifications);

- Annexure-VIII (Contract Agreement Form);

- Annexure-IX (Details of Manufacturing Unit);

- Annexure-X (Proforma for Performance Security); and

- Annexure-XI (The Landed Price [Sample Price Schedule Proforma ]) (should be quoted online only)

- Annexure-XII (Authorization letter from Manufacturer)

- Annexure-XIII (Check List)

5.2 	The Bidder must examine all instructions, forms, terms, specifications and annexure provided in the Bidding Documents. Failure to furnish all information required by the Bidding Documents or submission of a bid not substantially responsive to the Bidding Documents in every respect will be at the Bidder’s risk and may result in rejection of its bid.

5.3	The biding document is not transferable.

- Clarification of Bidding Documents

6.1 	A prospective Bidder requiring any clarification in regard to the Bidding Documents shall contact the Rate Contracting Authority in writing at the mailing address of Rate Contracting Authority’s indicated in the invitation for Bids. The Rate Contracting Authority will respond in writing to any such request for clarification of the Bidding Documents, the request for clarification must be received in the office of the Rate Contracting Authority not later than 15 days prior to the deadline fixed for submission of Bids and prescribed by the Rate Contracting Authority. Any correspondence with RCA seeking any clarification regarding any matter contained herein shall not compel the RCA to suspend the implementation of provisions given hereunder or shall not mean a promise to change any provision in this tender document.

- Amendment of Bidding Documents

7.1 	At any time prior to the deadline fixed for submission of bids, the Rate Contracting Authority may, for any justifiable reason, whether at its own initiative or in response to a clarification requested by a prospective bidder, modify the bidding documents by amendment.

7.2 	Any addendum issued shall be part of Bidding Documents and all the prospective bidders will be notified of the amendment by post or publication, and will be binding on them. The same shall be uploaded on the designated website.

7.3 	In order to allow reasonable time to prospective bidders in which to take the amendment into account in preparing their bids or for any other reason, the Rate Contracting Authority at its discretion, may extend the deadline for the submission of bids.

- Preparation of Bids

- Language of Bid

8.1 	The Bid prepared by the Bidder, as well as all correspondence and documents, printed literature and leaflets relating to the bid exchanged by the Bidder and the Rate Contracting Authority shall be written in English / Hindi language.

- Documents comprising the Bid

9.1 	The bid prepared by the Bidder shall comprise the following components:

- A Bid Form and Price Schedule completed in accordance with ITB Clause 10, 11 and 12; Price bid form should be filled online only. Technical Bid Envelope, EMD and cost of tender form instruments should be uploaded online as well as submitting hardcopies thereof.

- Documentary evidence established in accordance with ITB Clause 13 that the Bidder is eligible to bid and is qualified to perform the contract if its bid is accepted;

- Documentary evidence established in accordance with ITB Clause 14 that the goods and services to be supplied by the Bidder are eligible goods and services and conform to the Bidding Documents; and

- Bid Security furnished in accordance with ITB Clause 15.

The Bidders shall submit their Earnest Money Deposit as usual in a physically sealed Earnest Money Deposit Envelope and the same should reach the concerned office as stated in the Notice Inviting Tender by post.

The Bidders have to upload scanned copy of Earnest Money Deposit instrument along with the reference details.

- Bid Form

10.1 	The Bidder shall complete the Bid Form and the appropriate Price Schedule furnished in the Bidding Documents indicating the goods to be supplied in 30 days after supply order, a brief description of the goods, actual production capacity / stock capacity and offered quantity for each quoted Surgical Items  and value.

- Bid Prices

11.1 	Bid has been called for the items given in the specification in Technical Annexure VI. The bidder should quote the price online only for the generic products. The composition and strength of each product should be as per details given in Annexure-VI. Any variation found will result in the rejection of the tender. In any case if price bid submitted manually or in CD than tender will be rejected.

11.2 	Prices (inclusive of Excise Duty / Custom Duty, transportation, packing, insurance, and any incidental charges, but exclusive of VAT) should be quoted for each of the required Surgical Items etc., separately F.O.R., the godown of ordering agency basis according to the unit ordered. Tender for the supply of Surgical Items etc. with cross conditions like “AT CURRENT MARKET RATES” shall not be accepted. Extra handling, clearing, transport charges etc. will not be paid. The delivery should be made as stipulated in the supply order placed with the successful bidders. Conditional tenders will be rejected. (Please note that Price Bid/ Financial Proposal is mandate to be online only if submitted in hard copy or in CD bid will be rejected.)

11.3 	Each bid must contain the unit price of each Surgical items in digits as well as alphabets. Any discrepancy between the figures and words, the amount written in words will prevail. The tenders should be digitally signed online. The tenderers should take care that the rates and amounts are written in such a way that interpolation is not possible, no blanks should be left which would otherwise, make the tender redundant.

11.4 	The price quoted by the bidders shall not, in any case exceed the controlled price, if any, fixed by the Central/State Government and the Maximum Retail Price (MRP). Rate Contracting Authority at its discretion, will exercise, the right to revise the price at any stage, on lower side so as to confirm to the controlled price or MRP as the case may be. This discretion will be exercised without prejudice to any other action that may be taken against the bidder.

11.5 	The prices quoted and accepted will be binding on the bidder for the stipulated period (as per para I of introduction) and any increase in the price will not be entertained till the completion of this tender period or till further orders. Cross Conditions such as “SUBJECT TO AVAILABILITY” “SUPPLIES WILL BE MADE AS AND WHEN SUPPLIES ARE RECEIVED” etc., will not be considered under any circumstances and such conditional tenders shall be treated as incomplete and will be summarily rejected.

11.6 	The price quoted should be inclusive of service tax (as per Govt. rules) on inspection and testing charges, which will be realized in advance from the bidders.

11.7	To ensure sustained supply, without any interruption, the Rate Contracting Authority, reserves the right to split orders for supplying the requirements among more than one bidder, provided the prices and other conditions of supply are equal.

- Bid Currencies

12.1 	Prices shall be quoted in Indian Rupees.

- Documents establishing Bidder’s eligibility and qualifications

13.1 	Pursuant to ITB Clause 9, the Bidder shall furnish, as part of its bid, documents establishing the bidder’s eligibility to bid and its qualifications to perform the Contract, if its bid is accepted.

13.2 	The documentary evidence of the Bidder’s eligibility to bid shall be established to the satisfaction of Rate Contracting Authority.

13.3 	The documentary evidence of the Bidder’s qualifications to perform the Contract if its bid is accepted shall be established to the satisfaction of Rate Contracting Authority:

- Bids may be submitted by the primary manufacturer / direct importer, who holds valid import license or by an authorized distributors. The bidder shall clarify/state whether they are the manufacturer, accredited agent or authorized sole representative and also indicating principal’s name & address. Authorization letter from primary manufacturer is must for authorized distributor.

- Attested copy of documentary evidence of the Registration of the company with details of Name, Address, Telephone Number, Fax Number, e-mail address of the firm and of the Managing Director / Partners / Proprietor.

- Attested copy of Drugs manufacturing License / drugs license (sale) for each and every product quoted, along with revised “Schedule M” or concerned schedule duly approved by the Licensing Authority with GMP revised schedule M certificate. The license must have been duly renewed and upto date and the items quoted shall be clearly highlighted in the license. If the drug manufacturing license of a bidder is due to expire during the pendency of this tendering process and such a bid is slated to be declared as successful L1, then the rate contract of such bidder shall be signed only after presenting an effective manufacturing license for the entire period of proposed rate contract.

- If the product is imported then the attested copy of import license of the bidder shall be submitted. The license must have been renewed and up to date. A copy of a valid license for the sale of Drugs imported by the firms issued by the licensing authority shall be submitted along with valid Drug manufacturing License and GMP revised schedule M certificate of manufacturer.

- The instruments such as power of attorney, resolution of board etc., authorizing an officer/person of the bidder to sign the bid document should be submitted with the tender in original and such Authorized officer/person of the bidder should sign the tender documents.

- Authorization letter nominating a responsible person of the bidder to transact the business with the Rate Contracting Authority must also be enclosed in original.

- A certified copy of Market Standing Certificate issued by the Licensing Authority as a Manufacturer / Distributor for each Surgical items quoted for the last 3 years must be enclosed. In case of direct importer, evidence for importing the said items for the last three years must be enclosed.

- Detailed record of manufacturer / import / distributor to establish 3 years market standing as in Annexure-IV.

- Non-conviction Certificate issued by the Drugs Controller of the state of bidder’s registration certifying that the Surgical item quoted have not been cancelled for last three years.

- G.M.P. as per revised Schedule – “M” (from manufacturers only) issued by the Licensing Authority. The Bidder shall also furnish a notarized affidavit in the format given in Annexure-III declaring that the bidder complies the requirements of GMP (as per revised schedule-‘M’)

- Annual turnover (i.e. turnover for each year separately) in the last three financial years shall not be less than Rs. One Crore for Manufacturer and Rs. Fifty Lacs for the authorized distributor. Annual turnover statement for 3 years submitted in the format given in Annexure-V certified by the Auditor/CA.

- Sales Tax/VAT Clearance certificate, as on 31.03.2010 / 31.03.2011 / 31.03.2012 (as per form attached in Annexure-I).

- Undertaking (in the proforma given in Annexure-II) for embossment of logo on bottles, tubes etc. as the case may be and for supply of Surgicals Items as per conditions specified at Clause 4 of SCC herein, notarized by the Notary Public.

- Details of Manufacturing Unit / Distributor in Annexure-IX. The details containing the name and address of the premises where the items quoted are actually manufactured / stored.

- Documents, if any, to show that the manufacturing unit/importer has been recognized, by WHO, UNICEF, ISO certificates etc.

- Details of technical personnel employed in the manufacture and testing of Surgical Items  (Employee Name, Qualification, and Experience) as endorsed in license.

- Tender should not be submitted for the product / products for which the concern / company has been debarred / blacklisted either by the Rate Contracting Authority or by any other State / Central Government’s organization.

- Concern / Company have not been debarred / blacklisted either by Rate Contracting Authority or by any State Government or Central Government Organization. Affidavit to this effect shall be submitted by the concern / company.

- Leaflets, literatures, should invariably be attached for ready reference clearly marking the item no.

- All documents should be self attested and stamped.

- Documents establishing Goods Eligibility and Conformity to Bidding Documents

14.1 	Pursuant to Clause 9, the Bidder shall furnish, as part of its bid, documents establishing the eligibility and conformity to the Bidding Documents of all goods and services, which the Bidder proposes to supply under the Contract.

- Bid Security

15.1 	Pursuant to ITB Clause 9, the Bidder shall furnish, as part of its bid, the bid security which shall be Rs. Two Lakh. No concession / exemption shall be allowed. Amount of it should be shown separately in Envelop “A”. Scan Copy of same instrument should be uploaded online too.

15.2 	The bid security is required to protect the Rate Contracting Authority against risk of Bidder’s business conduct which would warrant the security’s forfeiture, pursuant to ITB clause 15.7.

15.3 	The bid security shall be in Indian Rupees and shall be in form of Fixed Deposit for 18 months in favour of Dean, M.G.M. Medical College, Indore.

15.4 	Any bid not secured in accordance with ITB Clause 15.1 and 15.3 above will be rejected by the Rate Contracting Authority as non-responsive, pursuant to ITB Clause 23.

15.5 	Unsuccessful Bidder’s bid security will be discharged / returned as promptly as possible upon the successful Bidders signing the Contract, pursuant to ITB Clause 31 and ITB 15.6 or after the expiration of the period of bid validity prescribed by the Rate Contracting Authority pursuant to ITB clause 16. No interest is payable on bid security.

15.6 	The successful Bidder’s bid security will be discharged upon the Bidders signing the Contract, pursuant to ITB Clause 31 after furnishing the performance security, pursuant to ITB Clause 32. No interest is payable on bid security.

15.7 	The bid security may be forfeited:

a. 	If a bidder

(i) withdraws its bid during the period of bid validity specified by the Bidder on the Bid Form;

b.	In case of a successful Bidder, if the Bidder fails:

(i) to sign the Contract in accordance with ITB Clause 31; or

(ii) to furnish performance security and Inspection Charges in accordance with ITB Clause 32.

- Period of Validity of Bids

16.1 	Quoted prices of bids shall be valid for 180 (One hundred eighty) days after the date of bid opening prescribed by the Rate Contracting Authority. A bid valid for a shorter period shall be rejected by the Rate Contracting Authority as non-responsive. This price or negotiated price, on acceptance, shall remain fixed till contract period or till further order.

16.2 	In exceptional circumstances, the Rate Contracting Authority may solicit the Bidder’s consent to an extension of the period of validity. The request and the responses thereto shall be made in writing. A Bidder may refuse the request without forfeiting its bid security. A bidder who gives consent for the request will not be required nor permitted to modify its bid.

16.3 	No bid may be modified subsequent to the deadline fixed for submission of Bids.

16.4 	No Bid may be withdrawn in the interval between the deadline for the submission of Bids and expiration of the period of bid validity specified by the Bidder on the Bid Form. Withdrawal of a bid during this interval may result in the Bidders forfeiture of its bid security pursuant to ITB Sub-clause 15.7.

- Submission of Bids

- Bid Stages

  - Bid should be submitted in following system and should furnish the following documents

failing which their bid shall not be accepted:-

Envelope – A:  Tender fee and E.M.D.

(Tender fee in the form of D.D. only)

- The Bidders shall submit their Tender fee Rs.5,000/- in form of a Demand Draft in the name of “Dean, M.G.M. Medical College, Indore” payable at Indore in a separate physically sealed Envelope clearly marked “Tender Fee” and the same should reach the concerned office as stated in the Notice Inviting Tender by post. The Bidders have to upload scanned copy of the Tender fee in form of Demand Draft instrument along with the reference details.

(E.M.D. in the form of F.D.R. only)

(2)     The Bidders shall submit their Earnest Money Deposit as usual in a separate physically sealed Envelope and the same should reach the concerned office as stated in the Notice Inviting Tender by post. The Bidders have to upload scanned copy of Earnest Money Deposit instrument along with the reference details.

- Fixed Deposit for 18 Months as bid security which shall be (maximum Rupees Two Lacs) tendered for as E.M.D. issued by nationalized bank in the name of Dean, M.G.M. Medical College Indore. Payable at Indore (refundable). (Any other instrument for example D.D./ cheque will not be accepted).

- Without submission of E.M.D. and Tender Fee, the tender will be summarily rejected as per rules.

- In no case the tender cost fee should be mixed with E.M.D. amount. Fee cost is not refundable.

Envelop – B: (Technical Bid)

- Technical bid should be submitted online as well as with two additional self certified copies (total 3 copies) for the quoted Surgical Items  etc. should be signed and stamped on each page. (ANNEXURE-VI). The bidder shall submit the specification’s compliance / deviation report duly filled and signed which clearly bring out the deviation from the specification if any, given in Annexure-VI. Format of technical bid is available in tender document and bidder should provide technical bid in MS office version 97 in C.D. and has to be submitted along with the hard copy by the bidder in Envelope B.

- List of name and address where supply of the quoted Surgical Items  has been made in last three year.

- Literature of original catalogue of the product attached for reference.

- Documentary evidence for the Registration of the company with details of the Name, Address, Telephone Number, Fax Number, e-mail address of the firm and of the Managing Director / Partners / Proprietor.

- Attested copy of Drugs manufacturing License / drugs license (sale) for each and every product quoted, along with G.M.P. as per revised Schedule – “M” (from manufacturers only) issued by the Licensing Authority. The Bidder shall also furnish a notarized affidavit in the format given in Annexure-III declaring that the bidder complies the requirements of GMP (as per revised schedule-‘M’) The license must have been duly renewed upto date and the items quoted shall be clearly highlighted in the license.

- If the product is imported attested copy of import license of the bidder shall be submitted. The license must have been renewed up to date. A copy of a valid license for the sale of drugs imported by the firms issued by the licensing authority shall be submitted along with valid drug manufacturing License and WHO GMP certificate of manufacturer.

- The instruments such as power of attorney, resolution of board etc., authorizing an officer/person of the bidder should be submitted with the tender and such Authorized officer/person of the bidder should sign the tender documents.

- Market Standing Certificate issued by the Licensing Authority as a Manufacturer / distributor for each Surgical item quoted for the last 3 years. In case of direct importer, evidence for importing the said items for the last three years.

- Detail of record of manufacturer / import / distributor to establish 3 years market standing as in Annexure-IV.

- Non-conviction Certificate issued by the Drugs Controller of the state certifying that the drugs quoted have not been cancelled for last three years.

- Good manufacturing practices Certificate (GMP) as per revised Schedule – “M” (from manufacturers only) issued by the Licensing Authority. The Bidder shall also furnish a notarized affidavit in the format given in Annexure-III declaring that the bidder complies the requirements of GMP (as per revised schedule-‘M’).

- Annual turnover in the last three financial years shall not be less than Rs. One Crore for Manufacturer and Rs. Fifty Lacs for the authorized distributor and turnover for the last financial year should also not be less than Rs. One Crore or Rs. Fifty Lacs accordingly. Annual turnover statement for 3 years submitted in the format given in Annexure-V certified by the Auditor/CA.

- Sales Tax / VAT Clearance certificate, as on 31.03.2010, 31.03.2011 and 31.03.2012 (as per form attached in Annexure-I).

- Undertaking (as in the proforma given in Annexure-II) for embossment of logo on bottles, tubes etc. as the case may be and for supply of Surgical Items  as per conditions specified at Clause 4 of SCC herein, notarized by the Notary Public.

- Details of Manufacturing Unit in Annexure-IX. The details containing the name and address of the premises where the items quoted are actually manufactured.

- The bidders have to submit name of the items, its code no. for which they are quoting in the price bid. Such names and items code of the items should be submitted along with the technical bid, failing which the tenderer’s price bid will not be opened. The Bidder has to submit Name of Item and its code number in the format given below:

| Sr.No. | Item Code | Name of Surgical items |
| --- | --- | --- |

- Concern / Company have not been debarred / blacklisted either by Rate Contracting Authority or by any State Government or Central Government Organization. Affidavit to this effect shall be submitted by the concern / company.

- Original Bid Form duly signed by authorized signatory as per Section V, duly stamped and signed by the bidder on each page for acceptance of Terms and Conditions.

- Bidders should have the registration under Commercial Tax Authority. Copy of Registration certificate should be attached.

- Affidavit that the firm has no vigilance case / CBI case pending against him / supplier, that the firm has not been black listed in the past by Govt. / Semi Govt. or any other organization. that the firm has not supplied the same item at a lower rate than quoted in the tender to any Govt. / Semi Govt. or any other organization.(duly notarized on 100/- stamp).In original.

- Authority letters from manufacturers / principal company (ANNEXURE-XII). In original

- Affidavit on non judicial stamp of Rs. 100/- for being in business or more than 3 years

- Certificate for sole ownership / partnership and establishment relations.

- Quality assurance certificate like ISI/ ISO-9002, IP/BP/USP etc.

- Statement of financial standing from bankers & performance guarantee as per (ANNEXURE-X), in original.

- Performance guarantee, if purchase order issued.

All the three envelops sealed in main envelop and marked ENVELOP–D   “TENDER FOR SURGICAL ITEMS  ETC. FOR P.C.” All the envelopes A, B, C, D must be Wax sealed using sealing Wax and official seal, sealed cello taped, moisture free and strong. All the enclosures and photocopies should be self certified and stamped. On the cover of envelop D following should be mentioned:

    - Reference No. of the tender ________________

    - Tender regarding _________________________

    - Due date of submission of tender form ________

    - Due date for opening of the tender ___________

    - Name of the firm _________________________

NOTE : TENDER SUBMITTED WITHOUT  FOLLOWING THE ABOVE PROCEDURES WILL BE SUMMARILY REJECTED.

Envelope – C: (Financial Bid)

Financial Bid / Price Proposal should be submitted online only, in case if the price bid is sent physically or in CD as a soft copy the bid will be out through rejected.

Envelope – D: (Main Tender Envelope)

Envelope A & B

  - PRICE BID –

The Bidder should furnish the following:-

- The rate quoted online only as per unit (landed price) in Annexure-XI (Suggested sample proforma of price schedule in this tender document is for inspection and not for physical submission or in CD) shall be inclusive of Excise Duty / Custom Duty, freight, packing, insurance etc. exclusive of VAT and should be  F.O.R. the godown of each ordering agency.

- The rate quoted in column 8 of Annexure-XI should be filled online (Suggested sample proforma of price schedule is for inspection and not for physical submission or in CD) should be for a unit and given specification. The Bidder is not permitted to change / alter specification or unit size given in the Annexure-XI.

- Bidder has to quote rates online only strictly for the items, which are mentioned in the tender.

- Rates quoted for items other than mentioned in the tender form then that particular item will not be entertained.

- The rates of each item should be quoted in figures as well in words also, otherwise the tender will be rejected.

- The price bid should be submitted online as prescribed in online form only. In case price bid / financial bid is submitted manually or in CD than bid will be rejected.

- Deadline for Submission of Bids

  - Bids will not be accepted after the time and date specified in the invitation for Bids (Section I).

  - The Rate Contracting Authority may, at its discretion, extend the deadline for submission of bids even by amending the Bid Documents in accordance with ITB Clause 7, in such case all right and obligations of the Rate Contracting Authority and Bidders be subject to the extended deadline.

  - The Rate Contracting Authority will not be responsible for any delay or non-receipt of tender documents.

- Late Bids

  - No Bid can be submitted after the last date and time of submission of bid or extended deadline.

- Modification and withdrawal of Bids

20.1	The Bidder may modify or withdraw their bid before Last Date and time of submitting bid hash online, before completing Submit Bid Hash Online stage. Once the said stage shows to be completed, no modifications can be made by bidder.

  - No bid may be modified subsequent to the deadline fixed for submission of bid hash online.

20.3	Bid may not be withdrawn in the interval between the deadline for submission of bids and the expiry of the period of bid validity as specified by the Bidder on the Bid Form or any extension thereof. Withdrawal of a bid during this interval will result in the forfeiture of bidder’s E.M.D., pursuant to ITB Clause 15.7.

Bid Opening and Evaluation of Bids

- Opening of Bids by the Rate Contracting Authority

Opening of Bid process:

  - Bid will be opened online as per key schedule on the day, date & place specified by the Rate Contracting Authority.

  - All bidders are entitled to be present at the date, time & place fix for opening of Bids.

  - Only one representative of each Bidder is entitled to remain present at the time of bid opening. Bidder’s representative who is present shall sign a register in proof of his/her attendance. In the event of the specified date of Bid opening being declared a holiday for the Rate Contracting Authority, the Bids shall be opened at the appointed time and location on the next working day. Such representative must be present with original authority letter issued by the bidder with ID proof in support thereof.

  - Opening of bid will be a sequential process.

  - Bids will be opened in the presence of Bidder’s representatives who choose to attend on the specified date and time fixed for opening the bid. Envelop D containing envelop A & B documents will be opened, out of which envelop A will be immediately opened online and physically. Documents together with contents of envelop A will be subject to scrutiny, those bidders whose documents and contents are as per tender conditions will only be deemed qualified for opening of technical bid. The date and time of opening of technical bid (envelop B) will be made available on website within a week of opening of bid and will be communicated simultaneously to those who qualify for opening of bid. Technical and Price bid will be submitted online and envelope B will be submitted in hard copy too. Technical Bid will be evaluated as per specification and NCB terms and conditions by the Technical Committee. Thereafter, Price Bid (envelop C) will be opened online only for those bidders whose bid will be found technically responsive. Opening of date of price bid will be communicated online only at http://dme.mpeprocurement.gov.in those who qualify and will be displayed on the specified website.

  - The Bidders’ names, presence or absence of the requisite bid security will be announced at the opening of Technical Bid.

  - Bidders who were found eligible on satisfying the criteria for technical evaluation and inspection by the technical committee, only their price bid will be opened and only they will be invited to be present at the date and time for opening of Price Bid of the tender.

- Clarification of Bids

  - During evaluation of bids, the Rate Contracting Authority may, at its discretion, ask the Bidder for clarification of its Bid. Any clarification submitted by a bidder in respect to its bid and that is not in response to a request by the Rate Contracting Authority shall not be considered. The request for clarification and the response shall be in writing and no change in prices or substance of the bid shall be sought, offered or permitted except to confirm the correction of arithmetic errors discovered by the Rate Contracting Authority in the evaluation of the bids.

- Preliminary Examination

  - The Rate Contracting Authority will examine the bids to determine whether they are complete, whether any computational errors have been made, whether required sureties have been furnished whether all documents are there, whether the documents have been properly signed, and whether the bids are generally in order.

  - The Rate Contracting Authority may waive any minor informality or non-conformity or irregularity or omissions in a bid which does not constitute a material deviation, provided such a waiver does not prejudice or affect the relative ranking of any Bidder.

  - Prior to the detailed evaluation, pursuant to ITB Clause 24, the Rate Contracting Authority will determine the substantial responsiveness of each bid to the bidding documents. For purposes of these Clauses, a substantially responsive bid is one which conforms to all the documents, terms, conditions and specifications of the bidding documents without material deviations. The Rate Contracting Authority’s determination of a bid’s responsiveness is to be based on the contents of the bid itself without recourse to extrinsic evidences.

  - If a bid is substantially responsive, the Rate Contracting Authority may request that the bidder submit the necessary information or documentation, within a reasonable period of time to rectify nonmaterial nonconformities or omissions in the bid related to the fulfillment of documentation requirements. Such omissions shall not be related to any aspect of the price of the bid. Failure of the bidder to comply with the request within the stipulated time may result in the rejection of its bid.

  - If a Bid determined as not substantially responsive, will be rejected by the Rate Contracting Authority and subsequently cannot be made responsive by the bidder by correction of the non-conformity.

- Evaluation and Comparison of Bids

  - The Rate Contracting Authority will evaluate and compare the bids determined to be substantially responsive, pursuant to Clause 23. Bids will be evaluated with reference to various criteria as specified in bid document and one of such criteria is that the rate per unit of (landed price) i.e. rate per item for determining the L1 rate (Lowest rate).

  - Purchase will also be made from SC / ST firms as per State Government rules.

- Contacting the Rate Contracting Authority

  - Subject to ITB Clause 22, no Bidder shall contact the Rate Contracting Authority on any matter relating to its bid, from the time of the bid opening to the time Rate Contract is awarded.

  - Any effort by a Bidder to influence the Rate Contracting Authority in its decisions on bid evaluation, bid comparison or award of contract may result in rejection of the Bidder’s bid. If the bidder wishes to bring additional information to the notice of the Rate Contracting Authority, it should do so in writing.

Award of Contract

- Post Qualification

  - Based on the qualification criteria listed in ITB Clause 13, the Rate Contracting Authority will determine, to its satisfaction, whether the Bidder selected as having submitted the lowest evaluated responsive bid is qualified to satisfactorily perform the Contract.

  - The determination of this qualification will take into account the Bidder’s financial, technical, production and other capabilities. It will be based upon an examination of the documentary evidence of the Bidder’s qualifications, submitted by the Bidder, pursuant to ITB Clause 13, as well as such other information as the Rate Contracting Authority deems necessary and appropriate.

  - An affirmative determination will be prerequisite for award of the Rate Contract to the Bidder. A negative determination will result in rejection of the Bidder’s bid in which event the Rate Contracting Authority will proceed to the next bid to make a similar determination of that Bidder’s capabilities to perform the contract satisfactorily.

  - On or before awarding the contract, the bidder may be asked to produce the samples and such asked sample will have to be produced before the rate contracting authority on the basis of which award of the contract may be finalized.

- Award Criteria

  - Subject to ITB Clause 29 – The Rate Contracting Authority will award rate contract to the successful bidders on lowest evaluated prices or the price approved by the Purchase Committee.

- Purchaser’s Right to vary Quantities

  - The details of the required Surgical Items  etc. are shown in Annexure-VI. The quantity mentioned is only the tentative requirement and may increase or decrease as per the decision of the Purchaser. The rates quoted should not vary with the quantum of the order or the destination.

- Purchaser’s Right to Accept any Bid and to Reject any or all bids

  - The Rate Contracting Authority reserves the right to accept or reject the tender for the supply of all items of Surgical item or for any one or more of the items of drugs tendered for in a tender without assigning any reason, there to and without incurring any liability to the affected Bidder or Bidders or any obligation to inform the affected Bidder or Bidders of the grounds for the Rate Contracting Authority’s action.

- Notification of Rate Contract

  - Prior to the expiration of the period of bid validity, the Rate Contracting Authority will notify the successful Bidder in writing by registered letter or fax or e-mail, that its bid has been accepted.

  - The notification of Rate Contract will constitute the formation of the Contract.

  - Upon the successful Bidder’s Rate Contract singing the pursuant to ITB Clause 31, the Rate Contracting Authority will promptly notify each unsuccessful Bidder and will discharges its bid security, pursuant to ITB Clause 15.

  - If, after notification of rate contract, a Bidder wishes to ascertain the grounds on which its bid was not selected, it should address it’s request to the Rate Contracting Authority. The Rate Contracting Authority will promptly respond in writing to the unsuccessful Bidder.

- Signing of Rate Contract

  - At the same time the Rate Contracting Authority will inform to the successful Bidder that its bid has been accepted. The R.C.A. will send the Bidder the Rate Contract Form provided in the bidding document incorporating all agreements between the parties.

  - Within 10 days of receipt of the Notification of Rate Contract, the successful Bidder shall sign and date the Contract on a non-judicial stamp paper of value of Rs.100/- (stamp duty to be paid by the Bidder) and return it to the Rate Contracting Authority, positively.

  - The validity of Rate Contract will be one year and may be extended for further period as agreed mutually unless revoked.

- Performance Security & Inspection Charges

  - Within 10 days of the receipt of firm order from the Rate Contracting Authority, the successful Bidder shall furnish the performance security, as specified by the purchaser, to the purchaser and inspection charges in accordance with the Clause 7 of General Conditions of Contract.

  - Failure of successful bidder to comply with the requirement of ITB Clause 31 or ITB Clause 32.1 shall constitute sufficient grounds for the annulment of the award and forfeiture of the bid security/previously deposited performance security and disqualify the firm to participate in the tender for the next five years.

- Placement of Supply Order

  - After finalization of the contract, the successful bidders may be asked to submit the delivery schedule as per requirement of the Purchaser. While placement of orders, the schedule given to the bidders, along with the other conditions stated in clause 27.1 will be considered.

  - To ensure sustained supply, without any interruption, the Purchaser reserves the right to split orders for supplying the requirements among more than one L1 bidder.

- Corrupt or Fraudulent Practices

  - For the purpose of this provision, the terms set forth as follows:

- “Corrupt practice” means the offering, giving, receiving or soliciting of any thing of value to influence the action of a public official in the procurement process or in contract execution, and

- “Fraudulent practice” means a mis-presentation / hiding of facts in order to influence a procurement process or the execution of a contract to the detriment of the other bidders, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial noncompetitive levels and to deprive the other bidders of the benefits of free and open competition;

- Will reject a proposal for award if it determines that the Bidder recommended for award has engaged in corrupt or fraudulent practice in competing for the contract in question.

- Will declare a firm ineligible, either indefinitely or for a stated period of time, to be allowed to participate, awarded a contract if at any time determines that the firm has engaged in corrupt or fraudulent practice in competing for, or in executing, a contract.

  - Furthermore, Bidders shall be aware of the provision stated in such clause 21.4 of the General Conditions of contract.

SECTION III:

GENERAL CONDITIONS OF CONTRACT (GCC)

SECTION III: GENERAL CONDITIONS OF CONTRACT(GCC)

TABLE OF CLAUSES

| Clause Number | Topic | Page Number |
| --- | --- | --- |
| 1. | Definitions | 31 |
| 2. | Applications | 31 |
| 3. | County of Origin | 32 |
| 4. | Standards | 32 |
| 5. | Use of Contract documents and information | 32 |
| 6. | Patent Rights | 33 |
| 7. | Performance Security | 33 |
| 8. | Inspection and Tests | 33 |
| 9. | Packing | 34 |
| 10. | Delivery and Documents | 34 |
| 11. | Insurance | 35 |
| 12. | Transportation | 35 |
| 13. | Warranty | 35 |
| 14. | Payment | 36 |
| 15. | Prices | 36 |
| 16. | Change orders | 37 |
| 17. | Contract Amendments | 37 |
| 18. | Assignment | 37 |
| 19. | Delays in the Supplier’s Performance | 37 |
| 20. | Liquidated Damages | 37 |
| 21. | Termination for Default | 38 |
| 22. | Force Majeure | 39 |
| 23. | Termination for insolvency | 39 |
| 24. | Termination for Convenience | 39 |
| 25. | Resolution of Disputes | 40 |
| 26. | Limitation of Liability | 40 |
| 27. | Governing Language | 40 |
| 28. | Applicable Law | 41 |
| 29. | Notices | 41 |
| 30. | Taxes and Duties | 41 |
| 31. | Fall Clause | 41 |
| 32. | Jurisdiction | 42 |

General Conditions of Contract (GCC)

  - Definitions

  - In this Contract, the following terms shall be interpreted as indicated:

- “Rate Contract” means the agreement entered into between the Rate Contracting Authority and the Supplier, as recorded in the Contract Forms signed by the parties, including all the attachments and appendices thereto and all documents incorporated by reference therein for supply of material in agreed time period.

- “Price” means the price payable to the Supplier for the full and proper performance of its contractual obligations.

- “Goods” means all the Surgical items etc., which the supplier is required to supply to the purchaser under the Contract.

- “Services” means services ancillary to the supply of the Goods, such as transportation and insurance and any other incidental services, and other obligations of the Supplier covered under the Contract.

- “GCC” means the General Conditions of Contract contained in this section.

- “SCC” means the Special Conditions of Contract.

- “The Purchaser” means the Organization purchasing the goods, as named in SCC.

- “The Purchaser’s Country” is the country named in SCC.

- “The Supplier” means the individual or firm supplying the Goods and Services under this Contract.

- “Chairman, PC” means Chairman, Purchase Committee which is Dean, M.G.M. Medical College, Indore

- “Rate Contracting Authority” means the Chairman, Purchase Committee.

- “The Project Site” where applicable, means the place or places named in SCC.

- “Day” means calendar day.

  - Applications

  - These General Conditions shall apply to the extent that they are not superseded by provisions in other parts of the Contract.

  - Country of Origin

  - All goods and services supplied under the Contract shall be specified with their country of origin.

  - For the purpose of this Clause “origin” means the place where the Goods are mined, grown or produced or from which the Services are supplied. Goods are produced when, through manufacturing, processing, or substantial and major assembling of components, a commercially recognized new product results which is substantially different in basic characteristics or in purpose or utility from its components.

  - The origin of Goods and Services may be distinct from the nationality of the Supplier.

  - Standards

  - The Goods supplied under this Contract shall confirm to the standards mentioned in the Technical Specifications and when no applicable standard is mentioned, to the authoritative standard appropriate to the Good’s country of origin and such standards shall be the latest issued by the concerned institution.

  - Genuine Surgical items must be supplied. Tenderers should indicate the source of supply i.e. name & address of the manufacturers from whom the items are to be imported.

  - While quoting the rates of Surgical items as enclosed list, the name of the manufacturer, must be mentioned otherwise the tender is liable to be rejected.

  - The rates of every item should be quoted from standard and well reputed firms / companies and they should be minimum possible.

  - For Surgical items means should bear quality assurance certification like ISO 9002 or CE Mark or ISI standardization as well as GMP certification.

  - Surgical items test report for every batch of Surgical items  is a must, and will be preferred as per ISI specifications. Surgical items test report for every batch of Surgical items is a must and is to be sent along with the goods with each supply.

  - Use of Contract documents and information

  - The supplier shall not, without the Rate Contracting Authority’s prior written consent, disclose the Contract, or any provision thereof, or any specification, plan, drawing, pattern, sample or information furnished by or on behalf of the Rate Contracting Authority in connection therewith, to any person other than a person employed by the supplier in performance of the contract. Disclosure to any such employed person shall be made in confidence and shall extent only so far as may be necessary, for purposes of such performance.

  - The Supplier shall not, without the Rate Contracting Authority’s prior written consent, make use of any document or information enumerated in GCC Clause 5.1 except for the purposes of performing the Contract.

  - Any document, other than the Contract itself, enumerated in GCC Clause 5.1 shall remain the property of the Rate Contracting Authority and shall be returned (in all copies) to the Rate Contracting Authority on completion of the Supplier’s performance under the contract if so required by the Rate Contracting Authority.

  - Patent Rights

  - The Supplier shall indemnify the Rate Contracting Authority against all third-party claims of infringement of patent, trademark or industrial design rights arising from use of the Goods or any part thereof in India.

  - Performance Security

  - The supplier shall furnish performance security in the amount specified in SCC 2.1 to the purchaser as specified in GCC 1.1 (g).

  - The proceeds of the performance security shall be payable to the purchaser as compensation for any loss resulting from the Supplier’s failure to complete its obligations under the Contract.

  - The Performance Security shall be denominated in Indian Rupees and shall be in the form of FDR/Bank Guarantee of Nationalized Bank located in India in the prescribed form provided in bidding document or another acceptable to the purchaser in favour of Purchaser for 18 months.

  - The performance security will be discharged by the purchaser and returned to the Supplier not later than 60 days following the date of completion of the Supplier’s satisfactory performance obligations, including any warranty obligations, unless specified otherwise in SCC.

  - Inspection and Tests

If purchaser wishes:

  - The purchaser or its representative shall have the right to inspect and/or test the Goods to confirm their conformity to the contract. The Special Conditions of Contract and/or the Technical Specification shall specify what inspections and tests the purchaser requires and where they are to be conducted. The purchaser shall notify the Supplier in writing of the identity of any representatives retained for these purposes.

  - The Supplier shall notify the purchaser or its representative at least 10 days prior to the date when Goods are available for inspection.

  - The Supplier will provide to the purchaser or its representative all reasonable facilities for the conduct of such inspections and tests at no additional cost to the purchaser. The Purchaser may seek an independent quality test report for batch ready for shipment. The cost of such tests will be borne by the Supplier.

  - Where the Supplier contests the validity of the rejection by the purchaser or his representative, whether based on product or packing grounds, a sample drawn by the Inspection Authority will be forwarded for analysis to an independent technical inspection. The Findings will be promptly obtained and shall be final and biding on both the parties. The cost of umpire analysis will be borne by the losing party.

  - The Purchaser’s right to inspect, test and where necessary, reject the Goods after the Goods arrival  at the Site shall in no way be limited or waived by reason of the Goods having previously been inspected, tested and passed by the purchaser or its representative prior to the Goods shipment from the country of origin.

  - Nothing in Clause 8 shall in any way release the supplier from any warranty or other obligations under this Contract.

  - Packing

  - The Supplier shall provide such packing of the Goods as is required to prevent their damage or deterioration during transit to their final destination as indicated in the contract. The packing shall be sufficient to withstand, without limitation, rough handling during transit and exposure to extreme temperatures, salt and precipitation during transit and open storage. Packing case size and weights shall take into consideration, where appropriate the remoteness of the Goods final destination and the absence of heavy handling facilities at all points in transit.

  - The packing marking and documentation within and outside the packages shall comply strictly with such special requirements as shall be provided for in the contract including additional requirements, if any, specified in SCC, Technical specification and in any subsequent instruction ordered by the Purchaser.

  - Delivery and Documents

  - The supply should be completed within 30 days from the date of supply order unless otherwise specified in the supply order. Purchaser will place order by fax &/ or e-mail &/or speed post.

  - It shall be the responsibility of the Supplier to make good for any shortage/damage at the time of receipt in hospital. Goods receiving Authority is not responsible for the stock of Surgical items received, for which no order is placed & Surgical items supplied which were not asked for such stock should be taken back by the supplier at its own cost.

  - The supplied Surgical items (covered in SCHEDULE P of Drugs and Cosmetics Act) should have a maximum potency throughout the shelf life period as prescribed in the Drugs and Cosmetics Act 1940 and rules there under. All items of Surgical items should have longer expiry of maximum shelf-life. Maximum shelf life will be the period between the date of the manufacture and its expiry date.

  - The Supplier shall take back Surgical items, which are not utilized by the consignee within the shelf life period based on mutual agreement.

  - The details of shipping and/or other documents to be furnished by the Supplier are specified in SCC.

  - Supply must be in toto i.e. not in fraction.

  - The delivery of Surgical items should be made at the point / place specified by the Purchaser in the purchase order.

  - The Surgical items which have short life (short expiry) the period of potency should be of the maximum expected period prescribed. Short expiry Surgical items will not be accepted and for the consequences the supplier will be responsible. Expired Surgical items will have to be replaced by the bidder. Supplier will submit an undertaking that Surgical items expired will be replaced by them if not used in stipulated time.

  - Every successful bidder must have an effective distributor and a godown in the city of every Government Medical / Dental College and will maintain sufficient stock at every such place. Bidder must submit a list of its existing distributor and godowns network in proforma XIII and will submit an affidavit to the effect that in case his bid is finalized he will appoint a distributor with a godown in every uncovered areas before signing the contract.

  - Insurance

  - The Goods supplied under the contract shall be fully insured in Indian Rupees against the loss or damage incidental to manufacture, acquisition, transportation, storage and delivery in the manner specified in SCC.

  - Transportation

  - Where the Supplier is required under the Contract to transport the Goods to a specified place of destination within Madhya Pradesh defined as Project site, transport to such place of destination in Madhya Pradesh including insurance as shall be specified in the Contract shall be arranged by the Supplier, and the related cost shall be included in the Contract Price.

  - The loss or damage of material whatsoever, whether insured or not, during transit shall be made good by bidder, free of charge failing which the losses will be deducted from their bill / performance security.

  - Wharf age, demurrages etc. on account of incorrect or delayed dispatch of material or documents shall be the responsibility of the supplier and shall be recovered from his bill / performance security.

  - Warranty

  - For Surgical items

    - The Supplier warrants that the Goods supplied under this Contract will have remaining a minimum of five sixths of the specified shelf life 5/6 = 80% upon delivery, have ‘overages’ within the ranges set forth in the Technical Specifications, and are not subject to recall by the applicable regulatory authority / due to unacceptable quality or on adverse drug reaction, and in every other respect with the Technical Specifications and with the conditions laid down in the Contract. In the event any of the Goods are recalled, the Supplier shall notify the purchaser within 14 days and promptly replace the items covered, by recall at its own cost.

    - Supplier upon request, shall provide evidence of the basis for fixing the specified shelf life and other stability data concerning the finished product to be supplied; and

  - The Purchaser shall promptly notify the Supplier in writing of any claims arising under the warranty.

  - Upon receipt of such notice, the Supplier shall, with all reasonable speed, replace the sub standard Surgical items, without cost to the Purchaser.

  - If the Supplier, having been notified, fails to remedy the defect(s) within seven days, the Purchaser may proceed to take such remedial actions as may be necessary, at the Supplier’s risk and expense and without prejudice to any other rights which the Purchaser may have against the Supplier under the Contract.

  - The stores supplies shall be strictly in accordance with the Specifications / Standards and shall be of the best quality. The stores are demanded to carry the Supplier’s own guarantee of the items by the consignee. In case of any adverse effect due to substandard quality the supplier will be fully responsible for all the consequences arising out of such substandard quality.

  - If at any time during/after the supply if goods are not found as per specification, sub standard or refurbished the bidder shall replace defective goods at his own cost, immediately, failing which the total amount is recoverable from him and he will be black listed.

  - Payment

  - The method and conditions of payment to be made to the Supplier under the contract shall be specified in the SCC.

  - The Supplier’s request(s) for payment shall be made to the Purchaser in writing accompanied by an invoice describing, as appropriate, the Goods delivered and the service performed, and by documents, submitted pursuant to GCC Clause 10, and upon fulfillment of other obligations stipulated in the contract.

  - Payments shall be made by the Purchaser after submission of the claim by the Supplier. All sincere efforts will be made for payment of due amount which has been submitted to the purchaser within 30 days unless the situation being out of control of the purchaser. Proforma invoice should also be submitted.

  - Payment shall be made in Indian Rupees.

  - The payment of the claim / bill will be made after deduction of VAT as per rules of M.P. Commercial Tax Act Section 34 and other taxes from the bill

  - Prices

  - Prices charged by the Supplier for Goods delivered and Services performed under the Contract shall not vary from the prices quoted by the Supplier in its bid.

  - Change orders

  - The Rate Contracting Authority may at any time, by written order given to the Supplier pursuant to GCC Clause 29 make changes within the general scope of the Contract in any one or more of the following:

    - the method of shipping or packing;

    - Any other terms & conditions in public interest.

  - If any such change causes an increase or decrease in the cost of, or the time required, for the Supplier’s performance of any provision under the Contract, and equitable adjustment shall be made in the Contract Price or delivery schedule or both and the Contract shall accordingly be amended. Any claims by the Supplier for adjustment under this clause must be asserted within fifteen (15) days from the date of the Supplier’s receipt of the Purchaser’s change order.

  - The Purchase Orders on approved rates will be placed by the Purchaser.

  - Contract Amendments.

  - Subject to GCC Clause 16, no variation in or modification of the terms of the Contract shall be made except by written amendment signed by both the parties.

  - Assignment

  - The Supplier shall not assign, in whole or in part, its obligations to perform under the Contract, except with the Purchaser’s prior written consent.

  - Delays in the Supplier’s Performance

  - Delivery of the Goods and performance of the Services shall be made by the Supplier in accordance with the time schedule specified by the Purchaser in the Supply order.

  - If at any time during performance of the Contract, the Supplier should encounter conditions impeding timely delivery of the Goods and performance of the Service, the Supplier shall promptly notify the Purchaser in writing of the fact of the delay, its likely duration and its cause(s). As soon as practicable after receipt of the Supplier’s notice the Purchaser shall evaluate the situation and may at its discretion extend the supplier’s time for performance.

  - Except as provided under GCC Clause 22, a delay by the Supplier in the performance of its delivery obligations shall render the Supplier liable to the imposition of liquidated damages pursuant to GCC Clause 20, unless an extension of time is agreed upon pursuant to GCC Clause 19.2 without the application of liquidated damages.

  - Liquidated Damages

  - Subject to GCC Clause 22, if the Supplier fails to deliver any or all the Goods or to perform the services within the period(s) specified in the supply order, the Purchaser shall, without prejudice to its other remedies under the Contract, deduct from the Contract Price, as liquidated damages, a sum equivalent to the percentage specified in SCC of the delivered price of the delayed goods or unperformed services for each week or part thereof of delay until actual delivery or performance, up to a maximum deduction of percentage specified in SCC. Once the maximum is reached, the Purchaser may consider termination of the Contract pursuant to GCC Clause 21.

  - Termination for Default

Contract may be terminated by the Rate Contract Authority if:

  - If the supplier fails to execute the supply within the stipulated time, the Purchaser is at liberty to make alternative purchase, in the event of making ALTERNATIVE PURCHASE, the supplier will be imposed penalty apart from the forfeiture of Performance Guarantee. The excess expenditure over and above contracted prices incurred by the Purchaser in making such purchases from any other sources or in the open market or from any other supplier who has quoted higher rates and other losses sustained in the process, shall be recovered from the Performance Security or from any other money due and become due to the Supplier and in the event of such amount being insufficient, the balance will be recovered personally from the Supplier. The penalty would be as under:

      - First penalty 31st day thereof from the date of issue of supply order – 3% of supplied ordered item.

      - Second & maximum penalty after 45 days from the date of issue of supply order – 5% of supplied ordered item.

      - The order will be deemed cancelled after expiry of 60 days from the issue date.

  - The order may be cancelled after expiry of delivery period as mentioned in the supply order and the supplier shall also suffer forfeiture of the Performance Security and shall invite other penal action like blacklisting / disqualification from participating in present and future tenders also.

  - Rate Contracting Authority will be at liberty to terminate by assigning justifiable reason thereof the contract either wholly or in part on one month notice. The Supplier will not be entitled for any compensation whatsoever in respect of such termination.

  - If the Supplier, in the judgment of the Rate Contracting Authority has engaged in corrupt or fraudulent practices in competing for or in executing the contract.

For the purpose of this Clause.

“Corrupt practice” means offering, giving, receiving or soliciting of anything of value to influence the action of a public official in the procurement process or in contract execution.

“Fraudulent practice” means a mis-presentation / hiding of facts in order to influence a procurement process or the execution of a contract to the detriment of the other bidders, and includes collusive practice among Bidders (prior to or after bid submission) designed to establish bid prices at artificial noncompetitive levels and to deprive the other bidders of the benefits of free and open competition.

  - For infringement of the stipulations of the contract or for other justifiable reasons, the contract may be terminated by the Rate Contracting Authority, and the supplier shall be liable for all losses incurred by the Rate Contracting Authority, in consequence of the termination which may be recovered personally from the supplier or from his properties, as per rules.

  - Non performance of any of the contract provisions will disqualify a firm to participate in the tender for the next five years.

  - In all the above conditions, the decision of the Rate Contracting Authority shall be final and binding.

  - Force Majeure

  - Notwithstanding the provision of GCC Clause 19, 20 and 21, the Supplier shall not be liable for forfeiture of its performance security, liquidated damages, penalty or termination for default, if and to the extent that, it’s delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

  - For purpose of this Clause, “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but are not limited to, acts of the Rate Contracting Authority either in its sovereign or contractual capacity, wars or revolution, fires, floods, epidemics, quarantine restrictions and freight embargoes.

  - If a Force Majeure situation arises, the Supplier shall promptly notify the Rate Contracting Authority in writing with adequate proof of such conditions and the cause thereof. Unless otherwise directed by the Rate Contracting Authority in writing the Supplier must continue to perform its obligations under the Contract as far as it is reasonably practical, and shall seek all reasonable alternative means for performance which are not prevented by Force Majeure event.

  - Termination for insolvency

  - The Rate Contracting Authority may, at any time, terminate the contract by giving written notice to the Supplier, if the Supplier becomes bankrupt or otherwise insolvent. In this event, termination will be without compensation to the Supplier, provided that such termination will not prejudice or affect any right of action or remedy which has accrued or will accrue thereafter to the Rate Contracting Authority.

  - Termination for Convenience

  - The Rate Contracting Authority, by written notice sent to the Supplier, may terminate the Contract, in whole or in part, at any time for its convenience. The notice of termination shall specify that termination is for the Rate Contracting Authority’s convenience, the extent to which performance of the Supplier under the contract is terminated, and the date upon which such termination become effective.

  - The Goods that are complete and ready for shipment within 15 days after the Supplier’s receipt of notice of termination shall be accepted by the Rate Contracting Authority at the Contract terms and prices. For the remaining Goods, the Rate Contracting Authority may elect:

    - to have any portion completed and delivered at the Contract terms and prices; and / or

    - to cancel the remainder and pay to the Supplier an agreed amount for partially completed Goods and for materials and parts previously procured by the Supplier.

  - Resolution of Disputes

  - The Rate Contracting Authority and the Supplier for the rate contracts & purchaser and supplier for supply order, supply, delivery and payment and other issues shall make every effort to resolve amicably by direct informal negotiations any disagreement or dispute arising between them under or in connection with the Contract.

  - If, after thirty (30) days from the commencement of such informal negotiations, the Rate Contracting Authority and the Supplier & purchaser and the supplier are unable to resolve amicably, a Contract dispute, either party may require that the dispute be referred for resolution to the formal mechanisms specified in the SCC. These mechanisms may include, but are not limited to, conciliation mediated by a third party, adjudication in an agreed national or international forum, and/or international arbitration.

    - Any dispute or difference, in respect of which a notice of intention to commence arbitration has been given in accordance with this clause, shall be finally settled by arbitration. Arbitration may be commenced prior to or after delivery of the goods under the contract.

    - Arbitration proceedings shall be conducted in accordance with the rules of procedure specified in SCC.

  - Notwithstanding any reference to arbitration herein	the parties shall continue to perform their respective obligations under the contract unless they otherwise agree.

  - Limitation of Liability

  - Except in cases of criminal negligence or willful misconduct, and in the case of infringement pursuant to Clause 6.

    - the supplier shall not be liable to the Rate Contracting Authority, whether in contract, tort, or otherwise, for any indirect or consequential clause or damage, loss of use, loss of production or loss of profits or interest costs, provided that this exclusion shall not apply to any obligation of the suppliers to pay liquidated damages to the Rate Contracting Authority, and

    - the aggregate liability of the supplier to the Rate Contracting Authority, whether under the contract, in tort or otherwise, shall not exceed the total ordered price, provided that this limitations shall not apply to the cost of replacing sub-standard/defective goods.

  - Governing Language

  - The contract shall be written in English language. Subject to GCC Clause 28, English language version of the Contract shall govern its interpretation. All correspondence and other documents pertaining to the Contract which are exchanged by the parties shall be written in the same language.

  - Applicable Law

  - The Contract shall be interpreted in accordance with the laws of the Union of India.

  - Notices

  - Any notices given by one party to the other, pursuant to this Contract, shall be sent to the other party in writing, confirmed in writing to the other Party’s address specified in SCC.

  - A notice shall be effective when delivered or on the notice’s effective date, whichever is later.

  - Taxes and Duties

  - In case of any enhancement in Excise Duty due to notification of the Government after the date of submission of tenders and during the tender period, the quantum of additional excise duty so levied will be paid extra, if the rates of excise duty prevailing at the time of tender, has been shown extra and actually paid by the supplier. For claiming the additional cost on account of the increase in Excise Duty, the supplier should produce a letter from the concerned Excise authorities for having paid additional Excise Duty on the goods supplied to Purchaser and also must claim the same in the invoice separately.

  - Suppliers shall be entirely responsible for all taxes, duties license fees, octroi, road permits, etc. incurred until delivery of the contracted Goods to the Purchaser. However, Sales tax/VAT (not surcharge in lieu of Sales Tax/VAT) in respect of the transaction between the Purchaser and the Supplier shall be payable extra, if so stipulated in the supply order.

  - Fall Clause

  - Prices charged for supplies under Rate Contract by the supplier should in no event exceed the lowest prices at which he offers to sell or sells the stores of identical description to any other State Government / DGS & D/ Public Undertaking during the period of the contract.

  - If at any time during the period of contract, the price of tendered items is reduced or brought down by any law or Act of the Central or  State government, the supplier shall be bound to inform the  Rate Contracting Authority immediately , as is necessary, its effect on price  rates. In case the supplier fails to notify or fails to agree for such reduction of rates, the Rate Contracting Authority will revise the rates on lower side. If there is a price increase for any product after quoting the rates, the bidder will have to supply the item as per quoted rates. This office will not accept any higher rates after wards.

  - If at any time during the period of contract, the supplier quotes the sale price of such Surgical Items or sells such Surgical items to any other State Govt. / DGS&D and Public Undertakings at a price lower than the price chargeable under the rate contract he shall forthwith notify such reduction to Rate Contracting Authority and the prices payable under the rate contract for the Surgical items supplied  from the date of coming into force of such price stands correspondingly reduced as per above stipulation however reduction shall not apply to:-

(a)  	Export by the supplier

(b)  	For all contracts entered into prior to the date of the tender or for any backlog of pending orders.

  - Within six months of the commencement of the rate contract and at the rate contract period a certificate in the following forms will have to be submitted by the supplier :-

I/We certify that the stores of description identical to the store supplied to the Govt. of M.P. under the contract herein have not been sold by me/us to any other State Govt. / Central Govt. / DGS & D / Public Undertaking during the period of the rate contract of Madhya Pradesh under the contract / except for the quantity falling under sub-clause (a) & (b) of the clause 31.3.

  - Jurisdiction

  - In respect of all disputes or claims related with Rate Contracts out of or under this contract, Indore Court alone shall have jurisdiction to entertain the same.

  - In respect of all disputes or claims related with Supply, Payments and any other out of or under this contract, the concerned Court of Purchaser’s place shall have jurisdiction to entertain the same.

CHAIRMAN, PURCHASE COMMITTEE &

DEAN, M.G.M MEDICAL COLLEGE,

A.B. ROAD INDORE (M.P.)

SECTION IV:

SPECIAL CONDITIONS OF CONTRACT (SCC)

SECTION IV : SPECIAL CONDITIONS OF CONTRACT(SCC)

TABLE OF CLAUSES

Item No.	Topic								Page No.

1.	Definitions (GCC Clause 1)							45

2.	Performance security (GCC Clause 7)					45

3.	Inspection and tests (GCC Clause 8)						45

4.	Logograms 									47

5.	Packing (GCC Clause 9)							47

6.	Delivery and documents (GCC Clause 10)					48

7.	Insurance (GCC Clause 11)							48

8.	Payments (GCC Clause 14)							48

9.	Prices (GCC Clause 15)							49

10.	Liquidated damages & deduction in payment (GCC Clause 20)		49

11.	Resolution of disputes (GCC Clause 25)					50

12.	Notices (GCC Clause 29)							50

13.	Supplier Integrity								51

14.	Supplier’s obligations								51

15.	Patent right (GCC Clause 6)							51

16.	Progress of Supply								51

17.	Bid Form									52

Special Conditions of Contract

The following special conditions of contract shall supplements the general conditions of contract whenever there is a conflict, the provisions herein shall prevail, over those in the general conditions of contract the corresponding clause numbers of the general conditions is indicated in parentheses.

1. 	Definitions (GCC Clause 1)

GCC 1.1 (g)    (a) 	The Purchaser is concerned Deans / Principal / Superintendents of various Govt. / Autonomous Medical Colleges, Dental College and Associated Hospitals of Madhya Pradesh which is also Good’s Receiving Authority.

GCC 1.1 (i)     (b) 	The Supplier is the individual or firm supplying the Goods and Services under this Contract.

GCC 1.1 (h)	(c) 	The Purchaser Country is India.

GCC 1.1 (l)	(d) 	The project site is as per supply order.

2.	Performance security (GCC Clause 7)

2.1	The supplier shall be required to pay 10% performance security of the order value or maximum Rs. 15 lac which ever is less. The performance security should be paid upfront in respect of each supply order or before the due date fixed by the Purchaser, valid up to end of 18 months for performance obligations including warranty obligations.

  - Substitute clause 7.4 of the GCC by the following:-

The performance security will be discharged by the Purchaser and returned to the supplier not later than 60 days following the date of completion of the supplier’s satisfactory performance obligations including the warranty obligations under the contract.

  - Add as clause 7.5 to the GCC the following:-

In the event of any contract amendment, the supplier shall, within 07 days of receipt of such amendment furnish the amendment to the performance security, rendering the same valid for the duration of the contract as amended for further period of 60 days thereafter.

3.	Inspection and tests (GCC Clause 8)

If purchaser wishes:

- The inspections shall be conducted on the premises of the suppliers / godown or stores of the supplier / at point of delivery and / or at the good’s final destination. Three sets of samples of required quality will be drawn at random from each batch by the inspector and sealed. These sealed samples will be signed by the inspector together with the supplier.  Two set of sealed sample will be sent to an approved laboratory for conducting the required test to confirm whether the sample confirm to the prescribed specification. One set of sealed sample will be retained with the manufacturer as counter sample. Inspection and testing charges for the above purpose and cost of the sample for testing purpose shall be borne by the supplier.

- Every box of drug should be sealed with gum tape / PVC tape running throughout the box along the top and bottom. This will ensure that box could not be opened without damaging the seal.

- In case the sample is found to be not in conformity with the prescribed specifications, one set of counter sample retained with the manufacturer may be sent for re-testing, if so desired by the manufacturer.

- Inspection note will be issued by the inspection committee on the basis of test report, with a final note for accepting or rejecting the batch, as the case may be.

- The consignee may also draw the sample, at random, from the consignment within 45 days of their receipts, and get them re-tested to satisfy whether the lot conforms to the laid down specification. In the event of the sample failing to conform to specification, the consignee shall reject the batch of supply and inform the supplier for arranging replacement of the rejected batches at supplier’s own cost.

- Sample of supplies may also be chosen at the point of distribution / storage points for testing. The samples will be sent to different Govt. approved laboratories for testing, as decided by the Purchaser. Handling and testing charges for the above purpose, as specified in clause 11.7 of ITB.

- When the inspection is conducted on the premises of the supplier, all reasonable facilities and assistance including access to drawing and production data shall be furnished to the inspectors at no charge to the Purchaser.

- In the event of the sample of Surgical items failing quality test and found to be not as per specification the Purchaser is at liberty to make alternative purchase of the items, of Surgical items for which the supply orders have been placed, from any other sources or in the open market or from any other suppliers who might have quoted higher rate at Bid at the cost of the supplier and in such cases the Purchaser has every right to recover the excess cost from supplier’s performance security.

- If the sample, do not conform to statutory standard, the supplier will be liable for relevant action under the existing laws and the entire stock in such batch should be taken back by the supplier within a period of 15 days of the receipt of the letter from Purchaser. The stock shall be taken back at the expense of the supplier. Purchase has the right to destroy such NOT OF STANDARD Surgical items  if the supplier does not take back the goods within the stipulate time. Purchaser will arrange to destroy the NOT OF STANDARD Surgical items after the expiry of 30 days mentioned above, without further notice, and shall also collect demurrage charges.

- If any items of Surgical items supplied by the supplier have been partially or wholly used or consumed after supply and are subsequently found to be in bad order, unsound, inferior in quality or description or otherwise faulty or unfit for consumption and if payment had already been made to him then the contract price or prices of such articles or things will be recovered from the supplier. The supplier will not be entitled to any payment, whatsoever, for items of Surgical items found to be NOT OF STANDARD QUALITY whether consumed or not and the purchaser is entitled to deduct the cost of such batch of Surgical items from any amount payable to the supplier. On the basis of nature of failure, the product / supplier will be moved for black listing.

- For Surgical items labeled as NOT OF STANDARD QUALITY, the food and drugs administration (FDA) will be informed for initiating necessary action against the supplier and that product shall be banned / black listed and no further supplies will be accepted from him till he is legally discharged. The supplier shall also not be eligible to participate in tenders for supply of such drugs for a period of five subsequent years.

4.	Logograms

Logogram means, wherever the context occurs, the design as specified in Annexure – II.

  - Tender for the supply of Surgical items etc, shall be considered only if the bidder gives undertaking in his tender that the supply will be prepared and packed with the hologram either printed or embossed or affixed on bottles etc. as per the design enclosed as per Annexure – II.

  - All Surgical items  have to be supplied in standard packing with printed hologram and shall also conform to schedule P1 of the drugs and cosmetic Act & rules wherever it applies. Affixing of stickers and rubber stamps shall not be accepted.

  - Bottles, Reagents Pack  and all other items should also carry the hologram. Label where-ever used must be firmly adhered.

  - Failure to supply Surgical item etc., with logogram will be treated as breach of the agreement.

Tenderes of the tenderes which are not willing to agree to the above conditions will be summarily rejected.

5.	Packing (GCC Clause 9)

Add the following clause 9.3 of the GCC :-

  - The Surgical item shall be supplied in the packing specified in Annexure – VII and the packing shall carry the logogram specified in Annexure-II. Each  bottle shall be printed / marked by distinct colours on the label “M.P. Govt. Med. Edu. Supply. Not for Sale”.

  - The packing in each carton shall be strictly as per the specification mentioned in Annexure – VII. Failure to comply with this shall lead to non-acceptance of the goods besides imposition of penalties.

  - The cap of bottled preparations should not carry the name of the supplier.

  - It should be ensured that only first hand fresh packaging material of uniform size is used for packing.

  - All primary packing containers should be strictly conforming to the specification included in the relevant pharmacopoeia.

  - Packing should be able to prevent damage or deterioration during transit.

  - In the event of items of Surgical items  supplied found to be not as per specifications in respect of their packing, the Purchaser is at liberty to make alternative purchase, of the items of Surgical items for which the supply orders have been placed, from any other sources or from the open market or from any other bidder who might have quoted higher rates. Such purchase shall be at the risk and the cost of the defaulting supplier and for which the Purchaser has every right to recover the cost and imposes penalty as mentioned in GCC clause 21.1.

6.	Delivery and documents (GCC Clause 10)

Upon delivery of the goods, the supplier shall submit the following documents to the Purchase:-

- Three copies of the supplier invoice showing good’s description, batch No., expiry, quantity, unit price, and total amount.

- Acknowledgement of receipt of goods from the consignee(s).

- Manufacturer’s / supplier’s warranty certificate.

- Inspection certificate issued by the designated inspection agency , and

- Certificate of origin.

- Photocopy of all test reports of all Surgical items should be submitted with every delivery challan.

7.	Insurance (GCC Clause 11)

For delivery of goods at site, the insurance shall be obtained by the supplier in an amount equal to 110% of the value of the goods to the final destinations as specified in the purchase order of “All Risks” basis including war Risks and strike.

Should any loss or damage occurs, the supplier shall:

- Initiate and pursue claim till settlement, and

- Promptly make arrangement for replacement of any damage item/s irrespective of settlement of claim by the underwriters.

8.	Payments (GCC Clause 14)

Payment for goods and services shall be made in Indian Rupees as follows:-

  - No advance payments towards cost of Surgical items etc. will be made to the supplier.

  - All payments shall be made by way of crossed cheques drawn in favour of the supplier.

  - All bills / invoices should be raised in triplicate in the name of Concerning Purchaser.

  - Payment will be made after completion of supply of goods as per supply order, commissioning, due verification and subsequent satisfactory report of the user department. Payments shall be made by the Purchaser after submission of the claim by the Supplier. All sincere efforts will be made for payment of due amount which has been submitted to the purchaser within 30 days unless the situation being out of control of / unforeseen for the purchaser.

  - FALL CLAUSE: if, at any time, during the said period, the supplier reduce the said prices of such Stores/Surgical items or sales such stores to any other person/organization at a price lower than the chargeable, he shall forthwith notify such reduction or sale to the PURCHASER and the price payable for the Stores supplied after the date of coming into force of such reduction or sale shall stand correspondingly reduced.

9.	Prices (GCC Clause 15)

Substitute clause 15.1 of the GCC with the following:

Prices payable to the supplier as stated in the contract shall not be subject to adjustment during performance of the contract.

10.	Liquidated damages & deduction in payment (GCC Clause 20)

  - For delay :

Substitute GCC clause 20.1 by the following:

Subject to GCC clause 20, if the supplier fails to deliver any or all the goods or perform the services within the time period(s) as specified in the contract, the Purchaser shall, without prejudice to its other remedies under the contract, deduct liquidated damages from the contract price, as shown below from the price of the delivered delayed goods or unperformed services for each week of delay or part thereof until actual delivery or performance up to maximum deduction of 5% of the delayed goods or services contract price. Once the maximum is reached, the purchaser may consider termination of the contract.

      - First penalty: 31st day from the date of issue of supply order – 3% of supply ordered item.

      - Second penalty: after 45 days from the date of issue of supply order – 5% of supply ordered item.

      - The order will be deemed cancelled after expiry of 60 days from the issue date

  - Purchaser has every right to receive supply even after expiry of delivery period as mentioned in the supply order and in such case, liquidated damages will be levied @ 3% of the delivery price of the delayed goods or unperformed services for each week of delay or part thereof until actual delivery or performance.

  - The supply in damaged condition shall not be accepted. In case of damage in the packing, the supply will be accepted only after levying penalty or replacement of damaged supply on the total value of supply to that particular designated place.

  - Supply must be in toto i.e. not in fraction

11.	Resolution of disputes (GCC Clause 25)

Add as GCC clauses 25.4 and 25.5 the following:

  - The dispute resolution mechanism to be applied pursuant to GCC clause 25 shall be as follows:

- In case of dispute or difference arising between the Rate Contracting Authority / Purchaser and supplier relating to any matter arising out of or connected with this agreement, such disputes or difference shall be settled in accordance with the Arbitration and Conciliation Act, 1996. The Next Higher Authority shall be the Arbitrator.

  - The Venue of Arbitration shall be at concerned place of next higher authority of R.C.A. / Purchaser.

12.	Notices (GCC Clause 29)

For the purpose of all notices, the following shall be the address of the Rate Contracting Authority & Purchaser and supplier:

Rate Contracting Authority:	The Chairman,

Purchase Committee & Dean

M.G.M. Medical College, Indore (M.P.)

Purchaser	:

        - Dean, M.G.M. Medical College, A.B. Road, Indore

        - Dean, Gandhi Medical College, Bhopal

        - Dean, Gajra Raja Medical College, Gwalior

        - Dean, Shyam Shah Medical College, Rewa

        - Dean, N.S.C.B. Medical College, Jabalpur

        - Dean, Bundelkhand Medical College, Sagar

        - Principal, Dental College, A.B. Road, Indore

        - Jt. Director cum Superintendent, M.Y. Hospital, MYH Road, Indore

        - Superintendent, Govt. Cancer Hospital, Near MY Hospital, Indore

        - Superintendent, Chacha Nehru Bal Chikitsalaya Avum Anusandhan Kendra, Behind MY Hospital, Indore

        - Superintendent, Mental Hospital, Banganga, Indore

        - Superintendent, Hamidia Hospital, Bhopal

        - Superintendent, Sultania Zanana Hospital, Bhopal

        - Superintendent, Jayarogya Hospital, Gwalior

        - Superintendent, Mental Hospital, Gwalior

        - Superintendent, S.G.M. Hospital, Rewa

        - Superintendent, N.S.C.B. Medical College Hospital, Jabalpur

        - Superintendent, Govt. Medical College Hospital, Sagar

Supplier 	:	(To be filled at the time of Contract Signature)

---------------------------------------------------------

13.	Supplier Integrity

The supplier is responsible for and obliged to conduct all contracted activities in accordance with the contract using state-of-art methods and economic principles and exercise all means available to achieve the performance as specified in the contract.

14.	Supplier’s obligations

The supplier is obliged to work closely with the R.C.A. and Purchaser’s staff, act within its own authority and abide by directives issued by the Purchaser and implementation activities.

The supplier will abide by the job safety measures prevalent in India and will free the purchase from all demands or responsibilities arising from accidents or loss of life the cause of which is the supplier’s negligence. The supplier will pay all indemnities arising from such incidents and will not hold the Purchaser responsible or obligated.

The supplier is responsible for managing the activities of its personnel or sub contracted personnel and will hold itself responsible for any misdemeanors.

The Supplier will treat as confidential all data and information about the Rate Contracting Authority / Purchaser, obtained in the execution of his responsibilities, in strict confidence and will not reveal such information to any other party without the prior written approval of the Rate Contracting Authority / Purchaser.

15.	Patent right (GCC Clause 6)

In the event of any claim asserted by a third party of infringement of copyright, patent, trademark or industrial design rights arising from the use of goods or any part thereof in the Purchaser’s country, the supplier shall act expeditiously to extinguish such claim. If the supplier fails to comply and the Purchaser is required to pay compensation to a third party resulting from such infringement, the supplier shall be responsible for the compensation including all expenses court cost and lawyers fees. The Purchaser will give notice to the supplier of such claim, if it is made, without delay.

16.	Progress of Supply

Supplier 	:	(To be filled at the time of Contract Signature )

---------------------------------------------------------

Supplier regularly at every 7 day interval shall intimate item wise progress of supply in writing, to the Purchaser as under:

  - Quantity offered for inspection and date :

  - Quantity accepted / rejected by inspecting agency and date:

  - Quantity dispatched / delivered to consignee and date :

  - Quantity where incidental services have been satisfactorily completed with date :

  - Quantity where rectification / replacement effected / completed on receipt of any communication from consignee / Purchaser with date :

(In case of state-wise inspection, details required may also be specified).

CHAIRMAN, PURCHASE COMMITTEE &

DEAN, M.G.M MEDICAL COLLEGE,

A.B. ROAD INDORE (M.P.)

SECTION V

Ref. Clause No. 17.1 of ITB

BID FORM

Date : …………..2013

Tender No. ……...

To,

Chairman, Purchase Committee &

Dean, M.G.M. Medical College

A.B.Road, Indore (M.P.)

I/We, the undersigned, declare that:

    - I/We have examined the bidding documents including Addenda Nos. ……. (insert numbers), the receipt which is hereby acknowledged.

    - I/We have gone through all terms and conditions of the tender document before submitting the same. I/We hereby agree to all terms and conditions as stipulated in the tender document and offer to supply and deliver ………………….. (Brief description of Surgical items ) in conformity with the bidding documents in accordance with the schedule of prices attached herewith and made part of this bid.

    - I/We undertake, if our bid is accepted, to deliver the goods in accordance with delivery period specified in the supply order.

    - I/We agree to abide by this bid for a period of 180 (numbers) days after the date fixed for bid opening and shall remain binding upon us and may be accepted at any time before the expiration of that date.

    - If our bid is accepted, we commit to deposit a performance security in accordance with GCC clause 7 & SCC clause 2 for the due performance of the contract.

    - Until a formal contract is prepared and executed, this bid together with your written acceptance thereof and your notification of rate contract shall constitute a binding contract between us.

    - I/We undertake if at any time, it is found that any information furnished by us to the Rate Contracting Authority, either in our bid or otherwise, is false, the Rate Contracting Authority reserves the right to terminate the contract without assigning any reasons, forfeit the bid security or performance security and blacklist us for a period of 5 years.

    - I/We understand that you are not bound to accept the lowest or any bid that you may receive.

    - I/We hereby submit our tender for the  ______________________________.

    - I am/We are enclosing herewith the E.M.D. No.___________ dated _________.

    - I/We have noted that overwritten entries shall be deleted unless duly cut & re-written and initialed.

    - Tenders are duly signed (No thumb impression should be affixed).

    - I/We undertake to sign the contract / agreement, if required, within 7 (Seven) days from the date of issue of the letter of acceptance, failing which our/my security money deposited may be forfeited and our/my name may be removed from the list of suppliers.

Dated this ………………….. day of ……………….. ……..2013

(Signature) ……………..

(in the capacity of :……………….)

Duly authorized to sign for and on behalf of ………………..

Witness:  1. Signature………..             			Witness: 2. . Signature………..

Name & Address…………………		                 Name & Address…………………

TABLE OF ANNEXURES

Item No.	Topic								Page No.

1.	Annexure – I (Sale Tax Clearance Certificate)				54

2.	Annexure – II (Undertaking Form)						56

3.	Annexure – III (Declaration Form)						59

4.	Annexure – IV (Proforma for Performance Statement) 			60

5.	Annexure – V (Annual Turnover Statement) 					61

6.	Annexure – VI (Specification of require Surgical items)			62

7.	Annexure – VII (Packing Specification) 					63

8.	Annexure – VIII (Contract Agreement)					65

9.	Annexure – IX (Details of Manufacturing Unit) 				68

10.	Annexure – X (Proforma for Performance Security) 				69

11.	Annexure – XI (The Landed Price [sample price schedule proforma] 	70

12.	Annexure – XII (Manufacturer’s Authorization Letter)			71

13.       Annexure- XIII Detail of existing distributor and Godown network in M.P 72

14.       Check list									73

15.	Requirement List of Surgical items		 			75

ANNEXURE – I

Ref. Clause No. 17.1  of ITB

FORM OF CERTIFICATE OF SALES TAX / VAT VERIFICATION TO BE PRODUCED BY AN APPLICANT FROM THE CONTRACT OR OTHER PATRONAGE AT THE DISPOSAL OF THE GOVERNMENT OF MADHYA PRADESH

(To be filled up by the applicant)

- Name of style in which the applicant is addressed or assessable to sales tax / VAT addresses or assessment.

- a. 	Name and address of all companies, firms or associations or persons in which the applicant is interested in his individual or fiduciary capacity

- Places of business of the applicant (all places of business should be mentioned)

- The Districts, blocks and division in which the applicant is assessed to sales tax / VAT (all places of business should be furnished)

- a. 	Total contract amount or value of patronage received in the preceding three years

2009-10

2010-11

2011-12

- Particular of sales – Tax / VAT for the preceding three years

| Year | Total T.O. (Turnover) be assessed (Rs) | Total Tax assessed (Rs) | Total Tax Paid (Rs) | Balance (Rs) | Reasons for Balance (Rs) |
| --- | --- | --- | --- | --- | --- |
| 2009-10 |  |  |  |  |  |
| 2010-11 |  |  |  |  |  |
| 2011-12 |  |  |  |  |  |

- If there has been no assessment in any year, whether any returns were submitted? if yes,  the division in which the returns were sent?

- Whether any penal action or proceeding for the recovery of Sales tax / VAT is pending?

- The name and address of Branches, if any:

I declare that that the above information is correct and complete to the best of my knowledge and belief.

Signature of Applicant:

Address:

Date:

(To be filled up by the Assessing Authority)

In my opinion, the applicant mentioned above has been / has not been / doing everything possible to pay the tax demands promptly and regularly and to facilitate the completion of pending proceeding.

Date Seal	:	Deputy / Asstt. Commercial Tax – Officer

Deputy Asstt.

Note: A separate certificate should be obtained in respect of each of the place of business of the applicant from the deputy commercial tax officer or Assistant commercial tax officer having jurisdiction over that place.

ANNEXURE – II

Ref. Clause No. 4.1 of SCC

UNDERTAKING

I/We/ M/s.___________________________ represented by its Proprietor / Managing Partner / Managing Director having its Registered Office at _______________________ and its Factory Premises at ____________ do declare that I/We have carefully read all the conditions of tender in Ref. No._____________  for supply of Surgical items, floated by the Purchase Committee, and accept all conditions of Tender.

I/We agree that the RCA and/or Purchaser has rights to forfeit the Bid Security and/or Performance Security Deposit and blacklist me/us for a period of 5 years if any information furnished by us proved to be false at the time of inspection and not complying to the tender conditions.

Signature of the Bidder

Name & Address in capital letters with Designation

(This Document must be duly notarized)

ENCLOSURE – II TO ANNEXURE – II

Ref. Clause No. 17.1 of ITB & Clause No. 4 of SCC

DESIGN FOR LOGORAMS

LIQUIDS

Liquid reparation should be in bottles with pilfer – proof caps top bearing the following logograms

MP

Govt

The label to be affixed on the containers shall be of green and they should be overprinted in distinct colour with the words “ M.P. Govt., Med. Edu. Supply. Not For Sale” and the logograms as above and as described previously.

.

ENCLOSURE – III TO ANNEXURE – II

SPECIMEN LABEL FOR OUTER CARTON SHALL BE OF GREEN COLOUR

M.P. Government

Medical Education Department Supply

Not For Sale

Batch: -----------------------------

Mfg date:  --------------------------

Exp. Date: ---------------------------

Quantity packed: 100x10x10

Net Weight: 6.5 Kg

Manufactured by:

Sulphuric Acid  .I.P.

Annexure-III

Ref. clause No 17.1 of ITB

DECLARATION

I/we M/s………………represented by its Proprietor / Managing Partner / Managing Director having it’s Registered office at…………………………..and it’s Factory Premises at…………  am / are desirous  of participating in the tender No. ……. for the supply of Surgical items floated by the Chairman, Purchase Committee & Dean, M.G.M. Medical College, Indore - 452001 and accept all conditions of Tender document.

I/We declare that we posses the valid license and GMP Certificate as per revised Schedule-“M” issued by the Competent Authority and comply and continue to comply with the conditions laid in Schedule M of drugs & Cosmetics Act. 1940 and the Rules made there under.

I/We agree that the Rate Contracting Authority may forfeit our Bid security and / or Performance Security Deposit and blacklist me/us for a period of 5 years if, any information furnished by us is proved to be false at the time of inspection and not complying with the conditions as per Schedule M of the said Act.

Signature:

Seal

Name & Address:

(This Document must be duly notarized)

ANNEXURE-IV

Ref. Clause No. 17.1  of ITB

PROFORMA FOR PERFORMANCE STATEMENT

(FOR A PERIOD OF LAST 3 YEARS)

Name of firm…………………………………………………………………………

| Sr. No | Name of the Item (for all category ) | Year wise Quantity Manufactured |  |  |
| --- | --- | --- | --- | --- |
|  |  | 2010 | 2011 | 2012 |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |

Signature & Seal of the Bidder

(This Document must have duly notarized)

ANNEXURE-V

Ref. Clause No. 17.1  of ITB

ANNUAL TURNOVER STATEMENT

The Annual Turnover of M/s ……………………………………………………. for the past three years are given below and certified that the statement is true and correct:

| Sr No. | Year | Turnover in Lakhs (Rs.) |
| --- | --- | --- |
| 1. | 2009-10 |  |
| 2. | 2010-11 |  |
| 3. | 2011-12 |  |
| Total Rs. (Lakhs) ……………………………………………………… |  |  |

Average turnover per annum Rs. …………………………. (Lakhs)

Signature of Auditor

Chartered Accountant

(Name in Capital)

Date :

Seal :

ANNEXURE-VI

Ref. Clause No. 28.1 of ITB

SPECIFICATIONS OF SURGICAL ITEMS

| Sr No | Item Code | Name of the Surgical items with Specifications | Name of manufacture | Unit | Approx. Tender Qty in Unit |
| --- | --- | --- | --- | --- | --- |
| 1. |  | As per the list from page no.----------------- |  |  |  |
| 2. |  |  |  |  |  |

Note: The quantity may increase or decrease as per clause No. 28.1 of ITB

  - The rigid PVC used in blister packing should be of not less than 250 micron.

  - All glass bottles should be new neutral glass.

  - All Surgical items should be packed in such a way, which facilitates easy removal of the materials inside without breaking / crushing.

  - Specifications of outer cartons are as given in the Schedule (Annexure-VII).

  - In case of any conflict between carton specifications and packets per carton specification (Last column of this table), the specification of the packet / carton shall prevail.

  - All liquids should be provided with a measuring device.

  - All plastic containers should be made of virgin grade plastics.

  - All plastics jars above 450gms/ml should carry an inner plastic lid.

ANNEXURE-VII

Ref. Clause No. 5.1& 5.2 of SCC

- SCHEDULE FOR PACKING OF SURGICAL ITEMS GENERAL SPECIFICATIONS

  - No Corrugate package should weight more than 15kgs (i.e. product + inner carton + corrugated box).

  - All items should be packed only in first hand boxes.

FLUTE:

  - The corrugated boxes should be of narrow flute.

JOINTS:

  - Every box should be preferably of single joint and not more than two joints.

FLAPS:

  - The flaps should uniformly meet but should not over lap each other. The flap when turned by 45-600 should not crack.

TAPE:

  - Every box should be sealed with gum tape / PVC tape running through the box along the top and bottom.

CARRY STRAP:

  - Every box should be strapped with two parallel nylon carry straps (they should intersect).

LABEL:

  - Every corrugate box should carry a large label in green colour clearly indicating that the product is for “M.P. Govt Med. Edu.. Supply – Not for Sale”. The lower one third of the large label should indicate in bold , as depicted in enclosure III of Annexure II of this document.

  - The product label on the carton should be large at least 25cms x 15cms dimension. It should carry the correct technical name , strength of the product , date of manufacturing , date of expiry , quantity packed and net weight of the box.

OTHERS:

  - No box should contain mixed products or mixed batches of the same products.

- SPECIFICATION FOR LARGE VOLUME BOTTLE, ABOVE 120ml & BELOW 1 LITER

  - All these bottles should be packed only in single row with partition between each and also with top and bottom pad of 3 ply.

  - Grammage: Outer box should be 150gsm inside partition / lining should be 120gsm.

  - Ply : 7 Ply

  - Bursting Strength : Not less than 12 kg / cm2

  - If the bottles are not packed in individual carton, 3 ply partitions should be provided between each bottle. The measuring device should be packed individually.

  - Grammage : Outer box should be 150gsm inside partition / lining should be 120gms.

  - Ply : 7 Ply

  - Bursting Strength : Not less than 12 kg / cm2

  - In case box is heavier than 7Kg but less than 40 kg , the grammage may be 150gsm (outer 150gsm and others 120gsm) 5 ply and bursting strength should not less than 9 kg / cm2.

- LYSOL

  - Not more than 5 liters cans may be packed in a single CB.

  - Grammage: Outer box should be 150gsm inside partition / lining should be 120gsm.

  - Ply : 7 Ply

  - Bursting Strength : Not less than 12 kg / cm2

ANNEXURE-VIII

Ref. Clause No.31 of ITB

CONTRACT AGREEMENT FORM

THIS CONTRACT AGREEMENT made the ………………………day of …….. ------------- between Rate Contracting Authority (Chairman, Purchase Committee and Dean, M.G.M. Medical College, Indore M.P.) (Name of Rate Contracting Authority) of India (country of Rate Contracting Authority) (hereinafter  called   “the Rate Contracting Authority” )   of    one  part  and                                          M/s ……………………………….  (name of supplier) of ………………………………….  (registered address, city and country of supplier) (hereinafter called “the supplier”) of the other part :

WHEREAS the Rate Contracting Authority had invited bids for certain goods and ancillary services viz. Surgical items  (Brief description of goods” and services) and has accepted a bid submitted by us as being a supplier for the supply of those goods and services.

NOW THIS AGREEMENT WITNESSETH AS FOLLOWS:

- In this agreement words and expression shall have the same meaning as are respectively assigned to them in the conditions of contract referred to:

- The following documents shall constitute the contract between the Rate Contracting Authority and the supplier, and each shall be read and construed as an integral part of the contract:

  - This contract agreement:

  - Instructions of contract:

  - General conditions of contract:

  - Special conditions of contract:

  - Technical Specifications:

  - The supplier’s bid and original price schedules

  - The Rate Contracting Authority’s notification of rate contract.

- This contract shall prevail over all other contract documents. In the event of any discrepancy or inconsistency with the contract documents, then documents shall prevail in the order listed above.

- In consideration of the payments to be made by the Purchaser to the supplier as hereinafter mentioned, the supplier hereby covenants with the Purchaser to provide the goods and services and to remedy defects therein in conformity in all respects with the provisions of the contract.

- The Purchaser hereby covenants to pay the supplier in consideration of the provision of the goods and services and the remedying of defects therein, the contract price or such other payments as may become payable under the provisions of the contract at the times and in the manner prescribed by the contract.

Brief particulars of the goods and services which shall be supplied / provided by the supplier are as under:-

| Sr No. | Item Code | Item Description | Unit | F.O.R. Rate per unit (Rs.)* |
| --- | --- | --- | --- | --- |

* The above rates are inclusive of excise duty, transportation, insurance, inspection & testing charges and all incidental charges, but exclusive of VAT.

- The prices shall be valid for a period of one year from the date of agreement, unless revoked, and thereafter for a further period as agreed upon mutually.

- The supplier shall agree to deposit inspection and testing charges and service tax as per tender conditions, in advance by cash / demand draft, against the value of supply order.

- The supplier shall agree to deposit 10% performance security, along with as mentioned at point no. 7 (above), in advance by FDR / Bank Guarantee, against the value of particular supply order for a period of 18 months.

- The supplier is not authorized to supply material directly to any state Govt. / Semi Govt. / any other organization on the rate lower than this rate contract.

- The supplier shall supply the goods directly to the indentor / purchaser at the address given in the supply order.

- The supplier shall raise bills directly in the name of indenting officer / purchaser against the supplies made directly by them to the indentor’s satisfaction in compliance with the conditions contained in the supply order.

- The supplier shall receive payment against it’s bill directly from the indenting department / purchasing department. In case of Non-payment for the supplies made by supplier, they will demand payment directly from the department / indentor concerned and in no case the Purchase Committee shall be responsible for the consequence for delayed payment or non-payment.

- The supplier shall carefully read all the conditions of the tender floated by the Purchase Committee for supply of Surgical items and accept all such terms and conditions as mentioned in the tender document. Signing this contract means that the supplier has read all the terms and conditions and binds himself to abide by those terms and conditions.

IN WITNESS whereof the parties hereto have caused this agreement to be executed in accordance with their respective laws on the day and year first above written.

That, in token of this agreement, both parties have today affixed their signature at Indore.

Said ……………………………… (For the RATE CONTRACTING AUTHORITY)

In the presence of: …………………………………..

Signed, Seal  and Delivered by the

Said ……………………………… (For the supplier)

In the presence of: …………………………………..

ANNEXURE-IX

Ref. Clause No. 17.1 of ITB

DETAILS OF MANUFACTURING UNIT / AUTHORIZED DISTRIBUTORS

Name of the Tenderer & Full Address 	:

(Whether manufacturer / authorized distributor)

PAN number 				:

Phone Nos. 				:

Fax No.				:

E-mail Address				:

Date of Inception 				:

Drugs Manufacturing / Distribution License No & Date 	:

Issued by 				:

Valid upto 				:

CST / VAT Registration No.			:

Details of Name & Address of premises	:

where items are actually manufactured.

Name & Designation of Authorized Signatory

Signature of the Authorized Signatory

The details of manufacturing unit / authorized distributor shall be for the premises where items quoted are actually manufactured / stocked.

ANNEXURE-X

Ref. Clause No. 7.3 of GCC

PERFORMANCE SECURITY FORM

[The Bank, as requested by the successful bidder, shall fill in this form in accordance with the instructions indicated]

[Bank’s Name, and Address of Issuing Branch or Office]

PERFORMANCE GUARANTEE No. …………………………. Date …………………

To: ………………………………………………	(Name of Purchase)

We have been informed that ………………………………… [insert complete name and address of supplier] (hereinafter called “the supplier”) has entered into contract with Rate Contracting Authority, for the supply of …………………………………………………… [brief description of goods and related services]  (hereinafter called “the contract”).

Furthermore, we understand that, according to the conditions of the contract, a performance guarantee is required.

At the request of the supplier, we hereby irrevocably undertake to pay you any sum(s) not exceeding ………………….. [ insert amount(s) in figures and words] upon receipt by us of your first demand in writing declaring the supplier to be in default under the contract, without cavil or argument, or your needing to prove or to show grounds or reasons for your demand or the sum specified therein.

This guarantee is valid until the ………………….. day of …………….. 2013

Signature and Seal of Guarantors

---------------------------------------

---------------------------------------

---------------------------------------

Date ……………..………2013

Full Address of the Bank:

---------------------------------------

---------------------------------------

Telephone no………………..

Fax no………………………..

E-mail Address………………

ANNEXURE-XI

Ref. Clause No. 17.2 of ITB

SUGGESTED SAMPLE PROFORMA OF PRICE SCHEDULE FOR THE SUPPLY OF SURGICAL ITEM

This form should be filled online only and if submitted manually or in CD than bid will be rejected. Pattern attached herewith is for reference only.

| Sr No (1) | Item Code (2) | Name of the Item and Specifications (3) | Name of Manufacturer (4) | Unit / details (5) | Manufacturing Capacity in 45 days (for each quoted Item) (6) | Quantity offered by bidder in 1 year (No. of Units) (7) | Rate per Unit (Landing price) (Inclusive of excise / custom duty, transportation, packing, insurance, inspection charges and any incidental charges etc. (8) |  |  | Amount of Transportation, Insurance, Service charges, Inspection charges (included in quoted rate per unit) (9) | Rate of Excise / Custom Duty (included in quoted rate per unit) (10) | Rate of CST/ VAT as applicable (11) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | In Figure |  | In Words |  |  |  |
|  |  |  |  |  |  |  | Rs. | P. |  |  |  |  |

Note: This format of price schedule is a sample for the Bidders. Price schedule should be submitted online only in the prescribed format and price schedule should not be submitted in physically or in form of CD, otherwise bid shall be rejected.

ANNEXURE – XII

Ref. Clause No. 17.1  of ITB

MANUFACTURER’S AUTHORIZATION LETTER

No………………………………… Dated………………

To,

Dear Sir,

Tender No.:

We ___________________ an established and reputable Manufacturer of ___________________ having factories at ___________ and ________ do hereby agree to supply ________________ confirming to the required specification and required quantity to M/s ____________________ (Bidder) as offered by them to supply against the above stated Tender. This is also certified that M/s _____________________________ is our authorized distributor / importer since ____________ (month & year should filled), and his performance is satisfactory.

We hereby extend our full guarantee and warranty as per Clause 15 of the General Conditions of Contract (GCC) for the supply against this invitation for Bid by the afore mention firm for our products.

Yours faithfully,

(name)

for and on behalf of M/s ____________________________ (Name of manufacturers)

Note: This letter should be signed by a person competent and having authority to sign on behalf of manufacturer.

(This Document must be duly notarized)

ANNEXURE-XIII

Ref. Clause No. 10.9 of ITB

DETAIL OF EXISTING DISTRIBUTOR AND GODOWN NETWORK IN M.P.

| S.No. | Name of city in M.P. | Name & Address of existing distributor | Telephone, Fax & email | Details of Godown |  |  | Remark |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Address | Mob. /Tel. no. | Floor area |  |
| 1 | Indore |  |  |  |  |  |  |
| 2 | Bhopal |  |  |  |  |  |  |
| 3 | Gwalior |  |  |  |  |  |  |
| 4 | Jabalpur |  |  |  |  |  |  |
| 5 | Rewa |  |  |  |  |  |  |
| 6 | Sagar |  |  |  |  |  |  |

Name & designation of the authorized Signatory

Signature of the authorized signatory

CHECK LIST FOR TERMS AND CONDITIONS FOR SURGICAL ITEMS

Check list for Terms and Conditions (To be filled by the bidder and submitted along with the bid) Page No. must be mentioned against each serial.

All non notarized documents except EMD must be self attested together with official seal . All the upload document must be submitted physically also.

| Sequence for online upload of document | Particulars | Page no |
| --- | --- | --- |
| Upload 1 | 1. Annexure-1 (Sales Tax Clearance Certificate) |  |
| Upload 2 | 2. Annexure-II (Undertaking Form) duly notarized |  |
| Upload 3 | 3. Annexure-III (Declaration Form) duly notarized |  |
| Upload 4 | 4. Annexure-IV (Proforma for Performance Statement) duly notarized |  |
| Upload 5 | 5. Annexure-V (Annual Turnover Statement) |  |
| Upload 6 | 6. Annexure-VI (Specifications of Surgical Items) with one additional self certified copies duly signed and stamped on each page |  |
| Upload 7 | 7. Annexure-IX (Details of Manufacturing Unit) |  |
| To be filled online only | 8. Annexure-XI (The Landed Price Sample Price Schedule Proforma]) |  |
| Upload 8 | 9. Annexure-XII (Authority Letter from Manufacturer) duly notarized |  |
| Upload 9 | 10. Annexure-XIII (Details of existing distributor and godown in M.P.) |  |
| Upload 10 | 11. Bid Security amount enclosed deposited |  |
| Upload 11 | 12. C.D. of technical bid along with the hard copy. |  |
| Upload 12 | 13. List of name and address of organizations where supply of the quoted Surgical Items has been made. |  |
| To be filled online only | 14. Literature of original catalogue of the product attached for reference |  |
| Upload 13 | 15 A certified copy of Market Standing Certificate issued by the Licensing Authority as a Manufacturer / Distributor for each drug quoted for the last 3 years must be enclosed. In case of direct importer, evidence for importing the said items for the last three years must be enclosed. |  |
| Upload 14 | 16. Drug license No. (self attested copies) |  |
| Upload 15 | 17. Non-Conviction Certificate issued by the Drugs Controller of the state. |  |
| Upload 16 | GMP as per revised Schedule – “M” (form manufacturers only) issued by the Licensing Authority. |  |
| Upload 17 | 19. List of item code & name of Surgical Items |  |
| Upload 18 | 20.Concern / company has not been debarred / blacklisted either by RCA or any state Govt. or central Govt. organization in India. Affidavit to this shall be submitted by the concern / company .The Company / firm has no vigilance / CBI cases or any other inquiry pending in any state agency / central agency in India pending against him a document should be duly notarized, that the firm has not supplied the same items at the lower rate than quoted in the tender to any Govt. / Semi Govt. or any other organization. (duly notarized on Rs.100/- Non judicial stamp paper) |  |
| Upload 19 | 21.Affidavit that in the event of grant of contract the firm shall also establish an effective distribution and godown network in uncovered areas of Govt. Medical Colleges in the state of M.P. |  |
| Upload 20 | 22.Firm registration |  |
| Upload 21 | 23. Sales tax registration certificate. |  |
| Upload 22 | 24. Original bid form duly signed by authorized signatory as per section V under official seal on each page for acceptance of our terms and conditions. |  |
| Upload 23 | 25. Certificate for being in business for more than 3 years issued by licensing authority |  |
| Upload 24 | 26. Certificate for sole ownership/partnership |  |
| Upload 25 | 27. Statement of financial standing from bankers |  |
| Upload 26 | 28. Certificate that Rates quoted are as per tender’s specifications |  |
| Upload 27 | 29. Quotation being submitted directly by the manufacturer or authorized distributor |  |
| Upload 28 | 30. Quality assurance certificate like ISI, ISO-9002, IP/BP or any other, please specify |  |
| Upload 29 | 31. Any other document required as per tender document. |  |

| sno | Item Code | Item With Specification | Unit | Total |
| --- | --- | --- | --- | --- |
| 1 | SUR 1 | Colostomy kit (with spare bags) | 1 | 3500 |
| 2 | SUR 2 | Convotac kit | 1 | 3850 |
| 3 | SUR 3 | ICD Bag (1000 ml) | 1 | 3750 |
| 4 | SUR 4 | Urinary Drainage Bag 1000 ML | 1 | 131600 |
| 5 | SUR 5 | Urinary Drainage Bag 2000 ML | 1 | 86102 |
| 6 | SUR 6 | Humbey's Knife Disposable Blade (Standard size) | 1 | 2601 |
| 7 | SUR 7 | Surgical Blade Size 11 | 1 | 42260 |
| 8 | SUR 8 | Surgical Blade Size 15 | 1 | 124060 |
| 9 | SUR 9 | Surgical Blade Size 22 | 1 | 92105 |
| 10 | SUR 10 | Surgical Blade Size 24 | 1 | 137165 |
| 11 | SUR 11 | Blood Bag Double 350 ml | 1 | 18100 |
| 12 | SUR 12 | Blood Bag Single 350 ml | 1 | 33100 |
| 13 | SUR 13 | Blood Bag Transfer 350 ml | 1 | 5100 |
| 14 | SUR 14 | Blood Bag Triple 350 ML | 1 | 10100 |
| 15 | SUR 15 | Central Venous Catheter Kit - Single Lumen | 1 | 12700 |
| 16 | SUR 16 | Central venous Catheter Kit Single Lumen 16 G | 1 | 16230 |
| 17 | SUR 17 | Central Venous Catheter Kit Single Lumen 18 G | 1 | 11500 |
| 18 | SUR 18 | Central Venous Catheter Kit Double Lumen 16 G | 1 | 14000 |
| 19 | SUR 19 | Central Venous Catheter Kit Double Lumen 18 G | 1 | 9500 |
| 20 | SUR 20 | Central Venous Catheter Kit Triple Lumen 16 G | 1 | 10400 |
| 21 | SUR 21 | Central Venous Catheter Kit Triple Lumen 18 G | 1 | 7000 |
| 22 | SUR 22 | I.V. Cannula With Injection Valve Size 26 | 1 | 79600 |
| 23 | SUR 23 | I.V. Cannula With Injection Valve Size 24 | 1 | 252600 |
| 24 | SUR 24 | I.V Cannula With Injection Valve Size 18 | 1 | 363100 |
| 25 | SUR 25 | I.V Cannula With Injection Valve Size 20 | 1 | 438550 |
| 26 | SUR 26 | I.V Cannula With Injection Valve Size 22 | 1 | 392500 |
| 27 | SUR 27 | Triway Cannula ( 3 way stop cock) | 1 | 111600 |
| 28 | SUR 28 | Visco Elastics Prefilled with Cannula 3 ml | 1 | 5100 |
| 29 | SUR 29 | CVC Complete Tray. Triple Lumen Catheter | 1 | 1200 |
| 30 | SUR 30 | PCN Catheter With Indroducer Needle | 1 | 1600 |
| 31 | SUR 31 | Femoral Catheter | 1 | 11300 |
| 32 | SUR 32 | Jugular Catheter 12 Fr. | 1 | 5000 |
| 33 | SUR 33 | K-90 Catheter | 1 | 24900 |
| 34 | SUR 34 | Fogarty Catheter 4 fr. | 1 | 2400 |
| 35 | SUR 35 | Foley Balloon Catheter Three Way (A) Fg 16 | 1 | 36700 |
| 36 | SUR 36 | Foley Balloon Catheter Three Way (A) Fg 18 | 1 | 31200 |
| 37 | SUR 37 | Foley Balloon Catheter Three Way (A) Fg 20 | 1 | 22000 |
| 38 | SUR 38 | Foley Balloon Catheter Three Way (A) Fg 25 | 1 | 38050 |
| 39 | SUR 39 | Foleys Catheter Size 14 Two Way | 1 | 123000 |
| 40 | SUR 40 | Foleys Catheter Size 16 Two Way | 1 | 168100 |
| 41 | SUR 41 | Foley's Urinary Catheter Size 18 Two Way | 1 | 55100 |
| 42 | SUR 42 | Foley's Urinary Catheter Size 8 Pediatrics | 1 | 34100 |
| 43 | SUR 43 | Foley's Urinary Catheter Size 10 Pediatrics | 1 | 25600 |
| 44 | SUR 44 | Infant Feeding Tube (Catheter) 10 G | 1 | 30850 |
| 45 | SUR 45 | Infant Feeding Tube (Catheter) 5 G | 1 | 34350 |
| 46 | SUR 46 | Infant Feeding Tube (Catheter) 8 G | 1 | 20750 |
| 47 | SUR 47 | Long Line Silicon Catheter, G-24, Fr-2, L-15 cm. | 1 | 5525 |
| 48 | SUR 48 | Long Line Silicon Catheter, G-24, Fr-2, L- 30cm. | 1 | 5525 |
| 49 | SUR 49 | Malecot Rubber Catheter No 12 | 1 | 10200 |
| 50 | SUR 50 | Malecot Rubber Catheter No 15 | 1 | 7200 |
| 51 | SUR 51 | Malicot Rubber Catheter No 16 | 1 | 8700 |
| 52 | SUR 52 | Malicot Rubber Catheter No 18 | 1 | 8700 |
| 53 | SUR 53 | Malicot Rubber Catheter No 20 | 1 | 9700 |
| 54 | SUR 54 | Malicot Rubber Catheter No 22 | 1 | 14700 |
| 55 | SUR 55 | Oxygen Catheter peadiatric | 1 | 9300 |
| 56 | SUR 56 | Oxygen Catheter Adult | 1 | 8800 |
| 57 | SUR 57 | Pediatric Thermo Sensitive IV Catheter With Guide Wire. | 1 | 1350 |
| 58 | SUR 58 | Radial, Femoral Arterial Catheter | 1 | 4700 |
| 59 | SUR 59 | Sholkoff Ballon, Hysterosalpingography Catheter-6.8f, Silicone Ballone Material Length- 30 Cms | 1 | 600 |
| 60 | SUR 60 | Single Umbilical Catheter with Luer Lock Stopcock Fr-2 L-40 cm. | 1 | 10900 |
| 61 | SUR 61 | Single Umbilical Catheter with Luer Lock Stopcock Fr-3 L-40 cm. | 1 | 800 |
| 62 | SUR 62 | Single Umbilical Catheter with Luer Lock Stopcock Fr-4 L-40 cm. | 1 | 800 |
| 63 | SUR 63 | Single Umbilical Catheter with Luer Lock Stopcock Fr-5 L-40 cm. | 1 | 700 |
| 64 | SUR 64 | Single Umbilical Catheter with Luer Lock Stopcock Fr-8 L-40 cm. | 1 | 700 |
| 65 | SUR 65 | Disposable Suction Catheter Size 12 | 1 | 38050 |
| 66 | SUR 66 | Disposable Suction Catheter Size 14 | 1 | 37500 |
| 67 | SUR 67 | Thermo Sensitive Single IV Catheter | 1 | 2000 |
| 68 | SUR 68 | Triple Lumen Jugular Catheter 12 x 16 | 1 | 3000 |
| 69 | SUR 69 | Triple Lumen Jugular Catheter 8 x 10 | 1 | 1800 |
| 70 | SUR 70 | Yankauer Suction canula disposable (standard) | 1 | 6550 |
| 71 | SUR 71 | Disposable Cord Clamp (standard) | 1 | 51700 |
| 72 | SUR 72 | Crepe Bandage 2'' | 1 | 21150 |
| 73 | SUR 73 | Crepe Bandage 4'' | 1 | 19150 |
| 74 | SUR 74 | Crepe Bandage 6'' | 1 | 22100 |
| 75 | SUR 75 | Abdominal Binder 28 | 1 | 9600 |
| 76 | SUR 76 | Abdominal Binder 30 | 1 | 5000 |
| 77 | SUR 77 | Abdominal Binder 32 | 1 | 5000 |
| 78 | SUR 78 | Abdominal Binder 34 | 1 | 5000 |
| 79 | SUR 79 | Absorbable Gelatine Spangustron IP 80 mm x 50 mm x 10 mm | 1 | 13600 |
| 80 | SUR 80 | Adhesive Plaster 7.5 Cm X 10 M | 1 | 78220 |
| 81 | SUR 81 | Bandage Contact Lens 14.2 mm | 1 | 2000 |
| 82 | SUR 82 | Closed IV Connection System with non Touch Applicator. | 1 | 1500 |
| 83 | SUR 83 | CVP Manometer | 1 | 3870 |
| 84 | SUR 84 | Disposable Cap (standard) | 1 | 2705005 |
| 85 | SUR 85 | Disposable Face Mask triple layer (standard) | 1 | 2705001 |
| 86 | SUR 86 | E.C.G Paper (Wax Coated) 50 mm X 30 mts | 1 | 19055 |
| 87 | SUR 87 | E.C.G Paper Computerized Triple Channel 20 mtrs. | 1 | 7500 |
| 88 | SUR 88 | E.C.G. Disposabile Electrode (50 pcs) | 1 | 173510 |
| 89 | SUR 89 | E.C.G. Roll Two Channel 20 mtrs. | 1 | 2500 |
| 90 | SUR 90 | E.C.G. Roll Three Channel 20 mtrs. | 1 | 5000 |
| 91 | SUR 91 | Sterile Fluorescein sodium I.P ophthalmic strip for examination use | 1 | 6000 |
| 92 | SUR 92 | Gigli Saw Wire (standard size) | 1 | 6100 |
| 93 | SUR 93 | Guide Wire 0.35 No | 1 | 5400 |
| 94 | SUR 94 | Guide Wire 0.38 No | 1 | 5400 |
| 95 | SUR 95 | Kallis Pad (standard) | 1 | 1200 |
| 96 | SUR 96 | Mackintosh Double Colour Water Proof (per mtr) | 1 | 18300 |
| 97 | SUR 97 | Medicated adhesive (standard size) | 1 | 100 |
| 98 | SUR 98 | Micropore 2" 5 mtr. | 1 | 29125 |
| 99 | SUR 99 | Micropore 4" 5 mtr. | 1 | 27380 |
| 100 | SUR 100 | Micropore 6” 5 mtr. | 1 | 24000 |
| 101 | SUR 101 | Micropore 2" 10 mtr. | 1 | 34350 |
| 102 | SUR 102 | Micropore 4" 10 mtr. | 1 | 33200 |
| 103 | SUR 103 | Micropore 6” 10 mtr. | 1 | 32200 |
| 104 | SUR 104 | Nebulazation Mask -kit (adult) | 1 | 28700 |
| 105 | SUR 105 | Nebulazation Mask- kit (Pead) | 1 | 32500 |
| 106 | SUR 106 | Ointment Dressing Pad ( standard size ) | 1 | 27600 |
| 107 | SUR 107 | Oxygen Mask Paediatric ( standard size ) | 1 | 9300 |
| 108 | SUR 108 | Oxygen Mask Adult ( standard size ) | 1 | 16900 |
| 109 | SUR 109 | Plaster of Paris Bandage BP 15 cm x2.7 mts/Roll | 1 | 67000 |
| 110 | SUR 110 | Plaster of Paris Bandage BP 10 cm x2.7 mts/Roll | 1 | 65030 |
| 111 | SUR 111 | Plastar Of Paris (50 kg) | 1 | 30554 |
| 112 | SUR 112 | Paper Adhesive plaster 1"x9.0mtr | 1 | 67500 |
| 113 | SUR 113 | Pressure Garment For Post Burn Deformity Pressure For Various Part Of The whole Body | 1 | 1000 |
| 114 | SUR 114 | Schirmer strip for ophthalmic use | 1 | 2700 |
| 115 | SUR 115 | Surgical Mini Drap 10x10 | 1 | 9500 |
| 116 | SUR 116 | T Piece PVC for ventilator | 1 | 1100 |
| 117 | SUR 117 | Three Way Stop Cock | 1 | 50000 |
| 118 | SUR 118 | TMT Stickers | 1 | 84700 |
| 119 | SUR 119 | TMT graph paper A4 size | 1 | 64900 |
| 120 | SUR 120 | Water Bed (standard) | 1 | 953 |
| 121 | SUR 121 | HIV Protection Kit Disposable | 1 | 11300 |
| 122 | SUR 122 | Blood Bag Temperature Strips used on Blood Bags | 1 | 5100 |
| 123 | SUR 123 | Assimilatory roll 37 gms 20" | 1 | 10 |
| 124 | SUR 124 | Disposable Patient/Body Transfer System load bearing capacity upto 150 kg | 1 | 10 |
| 125 | SUR 125 | Sterile disposable under buttock Drape | 1 | 10 |
| 126 | SUR 126 | Normal Delivery Kit Delivery Kit for Gynecology Procedures | 1 | 2500 |
| 127 | SUR 127 | Procedure Kit Anaethesia Procedure Kit containing 01 Surg Gown, 03 Drapes | 1 | 5000 |
| 128 | SUR 128 | Disposable examination Rubber gloves 6.5 (Pair) | 1 | 242320 |
| 129 | SUR 129 | Disposable examination Rubber gloves 7 (Pair) | 1 | 209820 |
| 130 | SUR 130 | Disposable examination Rubber gloves 7.5 (Pair) | 1 | 175320 |
| 131 | SUR 131 | Gloves Latex Autoclavable 6.5 no (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 985000 |
| 132 | SUR 132 | Gloves Latex Autoclavable 7 no (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 985000 |
| 133 | SUR 133 | Gloves Latex Autoclavable 7.5 no (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 990000 |
| 134 | SUR 134 | Gloves Latex Autoclavable 8 no (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 460000 |
| 135 | SUR 135 | Non-Sterile Surgical Rubber Gloves 6.5 No. (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 537500 |
| 136 | SUR 136 | Non-Sterile Surgical Rubber Gloves 7 No. (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 537500 |
| 137 | SUR 137 | Non-Sterile Surgical Rubber Gloves 7.5 No. (pair) Made of Natural Latex micro Rough Finish for better Grip | 1 | 551000 |
| 138 | SUR 138 | Sterlie Gloves 6.5" Made of Natural Laterx, Micro Rough Finish for better grip | 1 | 697200 |
| 139 | SUR 139 | Sterlie Gloves Size 7.5" Made of Natural Laterx, Micro Raugh Finish for better grip | 1 | 689200 |
| 140 | SUR 140 | Sterlie Gloves Size 7 " Made of Natural Laterx, Micro Raugh Finish for better grip | 1 | 688200 |
| 141 | SUR 141 | Rubber Gloves Heavy Duty ( for Post Mortem use) | 1 | 13000 |
| 142 | SUR 142 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 15 D | 1 | 25 |
| 143 | SUR 143 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 16 D | 1 | 75 |
| 144 | SUR 144 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 17 D | 1 | 75 |
| 145 | SUR 145 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 18 D | 1 | 75 |
| 146 | SUR 146 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 19 D | 1 | 100 |
| 147 | SUR 147 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 20 D | 1 | 100 |
| 148 | SUR 148 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 21 D | 1 | 100 |
| 149 | SUR 149 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 22 D | 1 | 100 |
| 150 | SUR 150 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 23 D | 1 | 100 |
| 151 | SUR 151 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 24 D | 1 | 100 |
| 152 | SUR 152 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 25D | 1 | 100 |
| 153 | SUR 153 | Acrylic Pre loaded foldable IOL size 11.5 MM (Haptic) 5.5 MM (optic) 26 D | 1 | 75 |
| 154 | SUR 154 | Absorbable Oxidized cellulose Hemostat 7.5 cm X 5 cm | 1 | 1650 |
| 155 | SUR 155 | Blood Bag Temperature Strips | 1 | 7200 |
| 156 | SUR 156 | Rapid Blood grouping Cards | 1 | 9000 |
| 157 | SUR 157 | A.V. Fistula Needle 16 no | 1 | 9100 |
| 158 | SUR 158 | A.V. Fistula Needle 18 no | 1 | 8100 |
| 159 | SUR 159 | Disposable Needle 18 no | 1 | 36000 |
| 160 | SUR 160 | Disposable Needle 20 no | 1 | 36000 |
| 161 | SUR 161 | Disposable Needle 22 no | 1 | 58001 |
| 162 | SUR 162 | Disposable Needle 23 no | 1 | 55000 |
| 163 | SUR 163 | Disposable Needle 24 no | 1 | 85500 |
| 164 | SUR 164 | Disposable Needle 26 no | 1 | 81500 |
| 165 | SUR 165 | Disposable Spinal Needle 18 no | 1 | 17600 |
| 166 | SUR 166 | Disposable Spinal Needle 22 no | 1 | 17500 |
| 167 | SUR 167 | Disposable Spinal Needle 23 no | 1 | 17500 |
| 168 | SUR 168 | Epidural kit 16 G | 1 | 8500 |
| 169 | SUR 169 | Epidural kit 18 G | 1 | 1500 |
| 170 | SUR 170 | Epidural Needle 25 G | 1 | 1500 |
| 171 | SUR 171 | Liver Biopsy Needle 16 G | 1 | 4630 |
| 172 | SUR 172 | Liver Biopsy Needle 18 G | 1 | 1105 |
| 173 | SUR 173 | Spinal Needle G-23 With Introducer And Metal Stylet. | 1 | 11200 |
| 174 | SUR 174 | Spinal Needle G - 22 L-120 mm | 1 | 2838 |
| 175 | SUR 175 | Spinal Needle G - 27 L-120 mm | 1 | 2973 |
| 176 | SUR 176 | Spinal Needle G - 29 L-120 mm | 1 | 3154 |
| 177 | SUR 177 | Trucut Biopsy Needle 16 G Length 15 Cm | 1 | 1125 |
| 178 | SUR 178 | Trucut Biopsy Needle 18 G Length 15 Cm | 1 | 1125 |
| 179 | SUR 179 | Short Pencil Point Spinal Needle G- 22 L-38 mm. | 1 | 275 |
| 180 | SUR 180 | Short Pencil Point Spinal Needle G-25 L-38 mm. | 1 | 275 |
| 181 | SUR 181 | Blood Administration (Transfussion) Set dual dropper with moulded blood filter | 1 | 137550 |
| 182 | SUR 182 | Blood tubing set for Dialysis (Standard Size) | 1 | 13000 |
| 183 | SUR 183 | Abdominal Drain Set 32 No | 1 | 12000 |
| 184 | SUR 184 | Abodiminal Drain Set 28 No. | 1 | 12000 |
| 185 | SUR 185 | I.V.Set ISI Fluid filter ,drip chamber with needle | 1 | 427300 |
| 186 | SUR 186 | Disposable Scalp Vein Set Size 20 no | 1 | 9600 |
| 187 | SUR 187 | Disposable Scalp Vein Set Size 22 no | 1 | 8600 |
| 188 | SUR 188 | DJ stent for Ureter 6 Fr | 1 | 7220 |
| 189 | SUR 189 | DJ stent for Ureter 8 Fr | 1 | 620 |
| 190 | SUR 190 | Dialyzer 1.1 m sqr. | 1 | 11700 |
| 191 | SUR 191 | IV Regulator Set | 1 | 5600 |
| 192 | SUR 192 | Respiratory Exerciser (Transparent Main Body) Connecting tube with mouth piece | 1 | 1361 |
| 193 | SUR 193 | Measure Volume Set | 1 | 44500 |
| 194 | SUR 194 | Micro Drip Set With Chamber | 1 | 73500 |
| 195 | SUR 195 | Mucus Extractor (Standard size) | 1 | 39200 |
| 196 | SUR 196 | Multiband Trigger (GI Band ) | 1 | 500 |
| 197 | SUR 197 | Paediatric Epidural Set (With 19g Needle With Matel Stylet 22g Catheter 0.22 Micron Epidural Catheter And Syringes | 1 | 9100 |
| 198 | SUR 198 | Pediatric Epidural Set. (With 19g Needle, With Metal Stylet, 22g Catheter , 0.22 micron Epidural Catheter And Lor Syringe) | 1 | 6700 |
| 199 | SUR 199 | Scalp Vein Set No. 18 | 1 | 7500 |
| 200 | SUR 200 | small incision cataract surgery kit (with 3 blade cresent blade keratome 3.2 mm,2.8 mm side port blade ) | 1 | 7600 |
| 201 | SUR 201 | Thermo Sensitive Epidural Tray, (With 17G, Needle, With Metal Stylet, 19G) | 1 | 700 |
| 202 | SUR 202 | TURP Set | 1 | 1700 |
| 203 | SUR 203 | Vaporizer standard size | 1 | 6104 |
| 204 | SUR 204 | Wound Suction Set No 11 | 1 | 2800 |
| 205 | SUR 205 | Wound Suction Set No 16 | 1 | 2800 |
| 206 | SUR 206 | Wound Suction Set No 18 | 1 | 2900 |
| 207 | SUR 207 | Hydrocephalus Shunt (Adult) | 1 | 700 |
| 208 | SUR 208 | Hydrocephalus Shunt (Pediatric) | 1 | 700 |
| 209 | SUR 209 | V P Shunt low Pressor high pressor | 1 | 1675 |
| 210 | SUR 210 | Needle Hypodermic -Insulin Needle (Metallic Non-Sterliue) Size 26Gx1/2" | 1 | 146500 |
| 211 | SUR 211 | Sterile Hypodermic Syringe With Needle 10ml | 1 | 740000 |
| 212 | SUR 212 | Sterile Hypodermic Syringe With Needle 2ml | 1 | 1415000 |
| 213 | SUR 213 | Sterile Hypodermic Syringe With Needle 5ml | 1 | 1315000 |
| 214 | SUR 214 | Sterile Hypodermic Syringe:With Needle 20ml Graduated | 1 | 196000 |
| 215 | SUR 215 | Sterile Hypodermic Syringe:With Needle 50ml Graduated | 1 | 82000 |
| 216 | SUR 216 | Tomy syringe 100 ml | 1 | 1300 |
| 217 | SUR 217 | Tomy syringe 50 ml | 1 | 2400 |
| 218 | SUR 218 | Endotracheal Tubes Size 2.5 Plain | 1 | 23800 |
| 219 | SUR 219 | Endotracheal Tubes Size 8 Cuffed | 1 | 22150 |
| 220 | SUR 220 | Endotracheal Tubes Size 8.5 Cuffed | 1 | 21900 |
| 221 | SUR 221 | Endotracheal Tubes Size 9 Cuffed | 1 | 16700 |
| 222 | SUR 222 | Endotracheal Tubes Size 9.5 Cuffed | 1 | 11600 |
| 223 | SUR 223 | Endotracheal Tubes Size7.5 Cuffed | 1 | 23950 |
| 224 | SUR 224 | Endotreheal Tube size 3 Cuffed | 1 | 27300 |
| 225 | SUR 225 | Endotreheal Tube size 4 Cuffed | 1 | 18300 |
| 226 | SUR 226 | Endotreheal Tube size 5 Cuffed | 1 | 11750 |
| 227 | SUR 227 | Endotreheal Tube size 6 Cuffed | 1 | 13800 |
| 228 | SUR 228 | Endotreheal Tube size 7 Cuffed | 1 | 17150 |
| 229 | SUR 229 | Feeding Tube 10 | 1 | 25700 |
| 230 | SUR 230 | Feeding Tube 6 | 1 | 26750 |
| 231 | SUR 231 | Feeding Tube 7 | 1 | 25800 |
| 232 | SUR 232 | Feeding Tube 8 | 1 | 25500 |
| 233 | SUR 233 | Feeding Tube 9 | 1 | 25500 |
| 234 | SUR 234 | PCN Tube 10 Fr | 1 | 2700 |
| 235 | SUR 235 | PCN Tube 12 Fr | 1 | 1100 |
| 236 | SUR 236 | Ryle's Tube (Pvc) Adult Size 16 | 1 | 65800 |
| 237 | SUR 237 | Ryle's Tube (Pvc) Adult Size 18 | 1 | 56800 |
| 238 | SUR 238 | Ryle's Tube (Pvc) Children Size 10 | 1 | 30600 |
| 239 | SUR 239 | Ryle's Tube (Pvc) Children Size 12 | 1 | 27200 |
| 240 | SUR 240 | Tracheostomy tube 6 Cuffed | 1 | 8900 |
| 241 | SUR 241 | Tracheostomy tube 7 Cuffed | 1 | 9100 |
| 242 | SUR 242 | Tracheostomy tube 7.5 Cuffed | 1 | 9000 |
| 243 | SUR 243 | Tracheostomy tube 8 Cuffed | 1 | 6350 |
| 244 | SUR 244 | Tracheostomy tube 8.5 Cuffed | 1 | 6350 |
| 245 | SUR 245 | Tracheostomy tube 9 Cuffed | 1 | 6350 |
| 246 | SUR 246 | Triple Layer Polyethylene Extension Tube. | 1 | 2900 |
| 247 | SUR 247 | Sterile Tuberculin Syringe | 1 | 10800 |
| 248 | SUR 248 | Sterile Insulin Syringe | 1 | 20800 |
| 249 | SUR 249 | Scleral Fixated Intra Ocular lens with double armed straight needle on 10'0 prolene suture, 19 D | 1 | 115 |
| 250 | SUR 250 | Scleral Fixated Intra Ocular lens with double armed straight needle on 10'0 prolene suture, 20 D | 1 | 115 |
| 251 | SUR 251 | Scleral Fixated Intra Ocular lens with double armed straight needle on 10'0 prolene suture, 21 D | 1 | 115 |
| 252 | SUR 252 | Scleral Fixated Intra Ocular lens with double armed straight needle on 10'0 prolene suture, 22 D | 1 | 115 |
| 253 | SUR 253 | Scleral Fixated Intra Ocular lens with double armed straight needle on 10'0 prolene suture, 23 D | 1 | 115 |
| 254 | SUR 254 | absorbent cotton 500 gm net wt | 1 | 91500 |
| 255 | SUR 255 | Cotton soft roll 4" | 1 | 17500 |
| 256 | SUR 256 | Cotton soft roll 2" | 1 | 14500 |
| 257 | SUR 257 | Cotton soft roll 6" | 1 | 10500 |
| 258 | SUR 258 | Disposable syring with needle 2 ml | 1 | 20000 |
| 259 | SUR 259 | Disposable syring with needle 5 ml | 1 | 20000 |
| 260 | SUR 260 | Disposable syring with needle 10 ml | 1 | 20000 |
| 261 | SUR 261 | Quincke bevel pediatric spinal needle, G – 25, Length – 1.2 inch | 1 | 500 |
| 262 | SUR 262 | Epidural Polyurethane catheter G – 19, with 17G spinal needle | 1 | 500 |
| 263 | SUR 263 | Polyethylene High pressure Extension Tube, Length – 11cm | 1 | 200 |
| 264 | SUR 264 | Polyethylene High pressure Extension Tube, Length – 30cm | 1 | 200 |
| 265 | SUR 265 | Polyethylene High pressure Extension Tube, Length – 50cm | 1 | 200 |
| 266 | SUR 266 | Polyethylene High pressure Extension Tube, Length – 100cm | 1 | 200 |
| 267 | SUR 267 | Polyethylene High pressure Extension Tube, Length – 150cm | 1 | 200 |
| 268 | SUR 268 | Polyethylene High pressure Extension Tube, Length – 200cm | 1 | 200 |
| 269 | SUR 269 | PTFE material I.V. cannula, with Luer-Lock, G – 22 | 1 | 100 |
| 270 | SUR 270 | PTFE material I.V. cannula, with Luer-Lock, G – 20 | 1 | 100 |
| 271 | SUR 271 | PTFE material I.V. cannula, with Luer-Lock, G – 18 | 1 | 100 |
| 272 | SUR 272 | PTFE material I.V. cannula, with Luer-Lock, G – 17 | 1 | 100 |
| 273 | SUR 273 | PTFE material I.V. cannula, with Luer-Lock, G – 16 | 1 | 100 |
| 274 | SUR 274 | XRO catheter with PTFE material, I.V. safety cannula, with Luer-lock, G- 18 | 1 | 600 |
| 275 | SUR 275 | XRO catheter with PTFE material, I.V. safety cannula, with Luer-lock, G- 20 | 1 | 600 |
| 276 | SUR 276 | XRO catheter with PTFE material, I.V. safety cannula, with Luer-lock, G- 22 | 1 | 800 |
| 277 | SUR 277 | Triple lumen Polyurethane CVP catheter, 7.5 Fr, G – 14x18x18, Length – 15cm | 1 | 100 |
| 278 | SUR 278 | Triple lumen Polyurethane CVP catheter, 7.5 Fr, G – 14x18x18, Length – 20cm | 1 | 100 |
| 279 | SUR 279 | Double lumen Polyurethane CVP catheter, 5 Fr, G – 17x20 Length – 8cm | 1 | 250 |
| 280 | SUR 280 | Double lumen Polyurethane CVP catheter, 5 Fr, G – 17x20 Length – 15cm | 1 | 250 |
| 281 | SUR 281 | Pediatric Triple lumen Polyurethane CVP catheter, 4.5 Fr, G – 20x23x23 Length – 6cm | 1 | 50 |
| 282 | SUR 282 | Pediatric Triple lumen Polyurethane CVP catheter, 4.5 Fr, G – 20x23x23 Length – 8cm | 1 | 50 |
| 283 | SUR 283 | Pediatric Triple lumen Polyurethane CVP catheter, 4.5 Fr, G – 20x23x23 Length – 10cm | 1 | 50 |
| 284 | SUR 284 | Pediatric Triple lumen Polyurethane CVP catheter, 4.5 Fr, G – 20x23x23 Length – 12.5cm | 1 | 50 |
| 285 | SUR 285 | Pediatric Double lumen Polyurethane CVP catheter, 4.5 Fr, G – 20x20 Length – 6cm | 1 | 200 |
| 286 | SUR 286 | Pediatric Double lumen Polyurethane CVP catheter, 4.5 Fr, G – 20x20 Length – 12.5cm | 1 | 200 |
| 287 | SUR 287 | Short IV Catheter with straight guide wire. L-4cm, Fr-2, G-22. | 1 | 200 |
| 288 | SUR 288 | Short IV Catheter with straight guide wire. L-8cm, Fr-2, G-22. | 1 | 200 |
| 289 | SUR 289 | Short IV Catheter with straight guide wire. L-20cm, Fr-2, G-22. | 1 | 200 |
| 290 | SUR 290 | Exchange Transfusion catheter with Four way Adaptor. Size- 2.5 cm L-30 cm | 1 | 500 |
| 291 | SUR 291 | Exchange Transfusion catheter with Four way Adaptor. Size- 3cm L-30 cm | 1 | 500 |
| 292 | SUR 292 | Exchange Transfusion catheter with Four way Adaptor. Size- 4 cm L-30 cm | 1 | 500 |
| 293 | SUR 293 | Exchange Transfusion catheter with Four way Adaptor. Size- 5 cm L-30 cm | 1 | 500 |
| 294 | SUR 294 | Exchange Transfusion catheter with Four way Adaptor. Size- 8cm L-30 cm | 1 | 500 |
| 295 | SUR 295 | Exchange Transfusion catheter with Four way Adaptor. Size- 2.5 cm L-40 cm | 1 | 500 |
| 296 | SUR 296 | Exchange Transfusion catheter with Four way Adaptor. Size- 3cm L-40 cm | 1 | 500 |
| 297 | SUR 297 | Exchange Transfusion catheter with Four way Adaptor. Size- 4 cm L-40 cm | 1 | 500 |
| 298 | SUR 298 | Exchange Transfusion catheter with Four way Adaptor. Size- 5 cm L-40 cm | 1 | 500 |
| 299 | SUR 299 | Exchange Transfusion catheter with Four way Adaptor. Size- 8cm L-40 cm | 1 | 500 |
| 300 | SUR 300 | Low-Profile Titanium Chemo Port with Silicon Catheter(9.6fr),Length-60cm,guide wire, Peel-away desilet, Hubsite needle (22G*20mm) | 1 | 200 |
| 301 | SUR 301 | Low-Profile Titanium Chemo Port with Silicon Catheter(6.6fr),Length-60cm,guide wire, Peel-away desilet, Hubsite needle (22G*20mm) | 1 | 200 |
| 302 | SUR 302 | Low-Profile Titanium Chemo Port with Silicon Catheter(3.9fr),Length-60cm,guide wire, Peel-away desilet, Hubsite needle (22G*20mm) | 1 | 200 |
| 303 | SUR 303 | Single lumen Peripherally inserted central venous Silicon catheter(3fr)Length-60cm | 1 | 100 |
| 304 | SUR 304 | Single lumen Peripherally inserted central venous Silicon catheter(4fr)Length-60cm | 1 | 100 |
| 305 | SUR 305 | Single lumen Peripherally inserted central venous Silicon catheter(4.5fr)Length-60cm | 1 | 100 |
| 306 | SUR 306 | Single lumen Peripherally inserted central venous Silicon catheter(5fr)Length-60cm | 1 | 100 |
| 307 | SUR 307 | Double lumen Peripherally inserted central venous Silicon catheter(3fr)Length-60cm | 1 | 50 |
| 308 | SUR 308 | Double lumen Peripherally inserted central venous Silicon catheter(4fr)Length-60cm | 1 | 50 |
| 309 | SUR 309 | Double lumen Peripherally inserted central venous Silicon catheter(4.5fr)Length-60cm | 1 | 50 |
| 310 | SUR 310 | Double lumen Peripherally inserted central venous Silicon catheter(5fr)Length-60cm | 1 | 50 |
| 311 | SUR 311 | Single lumen Peripherally inserted central venous Silicon catheter(6.6fr)Length-75cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 312 | SUR 312 | Single lumen Peripherally inserted central venous Silicon catheter(9.6fr)Length-75cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 313 | SUR 313 | Single lumen Peripherally inserted central venous Silicon catheter(4.2fr)Length-75cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 314 | SUR 314 | Single lumen Peripherally inserted central venous Silicon catheter(6.6fr)Length-90 cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 315 | SUR 315 | Single lumen Peripherally inserted central venous Silicon catheter(9.6fr)Length-90 cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 316 | SUR 316 | Single lumen Peripherally inserted central venous Silicon catheter(4.2fr)Length-90 cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 317 | SUR 317 | Double lumen Peripherally inserted central venous Silicon catheter(7fr)Length-90cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 318 | SUR 318 | Double lumen Peripherally inserted central venous Silicon catheter(9fr)Length-90cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 319 | SUR 319 | Double lumen Peripherally inserted central venous Silicon catheter(11fr)Length-90cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 320 | SUR 320 | Double lumen Peripherally inserted central venous Silicon catheter(14fr)Length-90cm,with Subcutaneous cuff for long term venous access | 1 | 100 |
| 321 | SUR 321 | Hubsite Huber bebel needle(G-20 Length-22 cm) with wings and flexible polyurethane extension tube (L-30cm) | 1 | 100 |
| 322 | SUR 322 | Hubsite Huber bebel needle(G-20 Length- 25cm) with wings and flexible polyurethane extension tube (L-30cm) | 1 | 100 |
| 323 | SUR 323 | Hubsite Huber bebel needle(G-22,Length-22cm) with wings and flexible polyurethane extension tube (L-30cm) | 1 | 100 |
| 324 | SUR 324 | Hubsite Huber bebel needle(G-22,Length-25cm) with wings and flexible polyurethane extension tube (L-30cm) | 1 | 100 |
| 325 | SUR 325 | Terminally Sterile Pre Filled single use flush with 0.9% saline solution having standard 10ml syringe diameter with design to minimize syringe induced reflux 5ml | 1 | 500 |
| 326 | SUR 326 | Terminally Sterile Pre Filled single use flush with 0.9% saline solution having standard 10ml syringe diameter with design to minimize syringe induced reflux,10ml | 1 | 400 |
| 327 | SUR 327 | Needleless Closed luer IV access system with silicone split septum and transparent housing, 15cm Micro Bore Ext Set | 1 | 200 |
| 328 | SUR 328 | Needleless Closed luer IV access system with silicone split septum and transparent housing, 15cm Micro Bore Tri-Ext Set | 1 | 100 |
| 329 | SUR 329 | Safety IV Cannula with Injection Valve ( Biometerial) for prevention of needle stick injuries, the needle tip should be totally encapsulated in plastic shield G-16 | 1 | 50 |
| 330 | SUR 330 | Safety IV Cannula with Injection Valve ( Biometerial) for prevention of needle stick injuries, the needle tip should be totally encapsulated in plastic shield G-18 |  | 50 |
| 331 | SUR 331 | Safety IV Cannula with Injection Valve (Biometerial) for prevention of needle stick injuries, the needle tip should be totally encapsulated in plastic shield,G-20 |  | 50 |
| 332 | SUR 332 | Safety IV Cannula with Injection Valve ( Biometerial) for prevention of needle stick injuries, the needle tip should be totally encapsulated in plastic shield,G-22 |  | 50 |
| 333 | SUR 333 | Quincke Pediatric Spinal Needles G-25, Length 2.0 Inch | 1 | 200 |
| 334 | SUR 334 | Quincke Long Length Spinal Needles G-21, Length 7.0 Inch | 1 | 100 |
| 335 | SUR 335 | Whitacre- Pencil Point Spinal Needle 25G with Introducer | 1 | 100 |
| 336 | SUR 336 | Whitacre- Pencil Point Spinal Needle 27G with Introducer | 1 | 100 |
| 337 | SUR 337 | Epidural Kit 18G with 20G Epidural Catheter, 0.2 micron filter & 7ml Epilor Syringe | 1 | 200 |
| 338 | SUR 338 | With 20G Epidural catheter made of polyamide nylon material, Epidural catheter should be 900 mm | 1 | 100 |
| 339 | SUR 339 | Disposable Sharp Collection Containers 1.5L | 1 | 500 |
| 340 | SUR 340 | Disposable Sharp Collection Containers 5.1 L | 1 | 200 |
| 341 | SUR 341 | Disposable Sharp Collection Containers 34.0L | 1 | 200 |
| 342 | SUR 342 | Skin Grafting Blade (standard) | 1 | 5515 |

| S no | Code no | Name of stapler | Unit | Total |
| --- | --- | --- | --- | --- |
| 343 | ST343 | Reloadable linear stapler 60 mm(±10mm) for thick tissue thickness heavy wire adjustable with gap setting scale | 1 | 200 |
| 344 | ST344 | Reloadable linear stapler 100 mm(±10mm) for thick tissue thickness heavy wire adjustable with gap setting scale | 1 | 200 |
| 345 | ST345 | Reloadable linear stapler 60 mm(±10mm) for normal tissue thickness reload with grey color coding 30 mm | 1 | 220 |
| 346 | ST346 | Linear reloading cutter 55 mm(±10mm) for stadard tissue thickness 55 mm(±10mm) cutter with cam machnism intermediate locking position & tissue retaing button. | 1 | 250 |
| 347 | ST347 | Linear reloading cutter 75 mm(±10mm) for standard tissue thickness 75 mm(±10mm) cutter with am machnism intermediate locking position & tissue retaing button. | 1 | 220 |
| 348 | ST348 | Linear reloading cutter 100 mm for standard tissue thickness 100 mm(±10mm) cutter with am mechanism intermediate locking position & tissue retaing button | 1 | 210 |
| 349 | ST349 | Reloads for 55 mm(±10mm) linear cutter for standard tissue 2281 thickness 55 mm(±10mm) . | 1 | 350 |
| 350 | ST350 | Reloads for 55 mm(±10mm) linear cutter for thick tissue thickness 55 mm(±10mm) | 1 | 250 |
| 351 | ST351 | Reloads for 75 mm(±10mm) linear cutter for standard tissue thickness reload 75 mm(±10mm) | 1 | 250 |
| 352 | ST352 | Reloads for 75 mm(±10mm) linear cutter for thick tissue thickness 75 mm(±10mm). | 1 | 220 |
| 353 | ST353 | Linear cutter of 55mm(±10mm) with inbuilt selectable staple height | 1 | 250 |
| 354 | ST354 | Universal black reload compatible with the 55mm(±10mm) linear cutter with inbuilt selectable staple height | 1 | 250 |
| 355 | ST355 | Linear cutter of 75mm(±10mm) with inbuilt selectable staple height | 1 | 200 |
| 356 | ST356 | Universal black reload compatible with the 75mm(±10mm) linear cutter with inbuilt selectable staple height | 1 | 200 |
| 357 | ST357 | Linear stapler 30mm (±5mm)/60mm(±10mm)/90mm (±10mm)size with controlled tissue multiload compression | 1 | 200 |
| 358 | ST358 | Re-usable linear cutter 55mm(±10mm) with capacity of 200 fringes and separate knife- blade module. | 1 | 220 |
| 359 | ST359 | Reloads for re-usable linear cutter 55mm(±10mm) with closed staple height of 1.5mm and 2mm | 1 | 220 |
| 360 | ST360 | Knife blade module compatible with re-usable linear cutter 55mm(±10mm) with capacity of 200 firnges. | 1 | 250 |
| 361 | ST361 | No Knife module compatible with re-usable linear cutter 55mm(±10mm) with capacity of 200 firnges. | 1 | 220 |
| 362 | ST362 | Hemmorhoidal circular stapler 33mm(±5mm) with controlled tissue compression, leg length of 4mm, should have polypropylene suture kit with each stapling device | 1 | 150 |
| 363 | ST363 | Intra-luminal Curved Circular stapler 21mm & 25 mm with controlled tissue compression. | 1 | 120 |
| 364 | ST364 | Intra-luminal Curved Circular stapler 29mm & 33 mm with controlled tissue compression. | 1 | 130 |
| 365 | ST365 | Hemmoroidal Circular stapler 33 mm with controlled tissue compression, Leg length of 4 mm. should have polypropylene suture kit with each stapling device. | 1 | 100 |
| 366 | ST366 | Linear cutter of 55 mm with inbuilt selectable staple height. | 1 | 220 |
| 367 | ST367 | Universal black reload compatible with the 55 mm linear cutter with inbuilt selectable staple height. | 1 | 200 |
| 368 | ST368 | Linear cutter of 75 mm with inbuilt selectable staple height. | 1 | 205 |
| 369 | ST369 | Universal black reload compatible with the 75 mm linear cutter with inbuilt selectable staple height. | 1 | 210 |
| 370 | ST370 | Linear Stapler 30 mm / 60 mm / 90 mm size with controlled tissue | 1 | 205 |
| 371 | ST371 | Reloads for Linear Stapler 30 mm / 60 mm / 90 mm size with controlled tissue | 1 | 205 |
| 372 | ST372 | Re-usable Linear cutter 55 mm with capacity of 200 firings & separate knife - blade module. | 1 | 201 |
| 373 | ST373 | Reloads for Re-usable Linear cutter 55 mm with closed staple height of 1.5 mm & 2 mm | 1 | 150 |
| 374 | ST374 | Knife blade module compatible with re-usable Linear cutter 55 mm with capacity of 200 firings | 1 | 105 |
| 375 | ST375 | No knife module compatible with Re-usable Linear cutter 55 mm with capacity of 200 firings | 1 | 105 |
| 376 | ST376 | Skin closure stapler (35 Pins High Quality Medical Grade Plastic, Cartridge with SS Rectangular Design pins with wire diameter 0.60mm and size after closure 7.2x4.3mm.) | 1 | 250 |

| S No | Item Code | Item With Specification | Unit | Total |
| --- | --- | --- | --- | --- |
| 377 | SUT377 | Black- Braided Silk With 1/2 Cir Rb Needle 25 Mm Length 75 Cm size 3/0 | 1 | 6430 |
| 378 | SUT378 | Black- Braided Silk With 1/2 Cir Reverse cutting Needle 40 MM Length 75 Cm size 1/0 | 1 | 400 |
| 379 | SUT379 | Black- BraidedSilk With 1/2 Cir Rb Needle 20 Mm Length 75 Cm size 3/0 | 1 | 3950 |
| 380 | SUT380 | Black- Braided Silk With 1/2 Cir Rb Needle 30 Mm Length 75 Cm 2/0 | 1 | 3840 |
| 381 | SUT381 | Black- Braided Silk With 1/2 Cir Rb Needle 20 Mm Length 75 Cm 1/0 | 1 | 5580 |
| 382 | SUT382 | Black- Braided Silk With 1/2 Circd Cutting Needle 16mm Length 75 Cm 4/0 | 1 | 9035 |
| 383 | SUT383 | Black- Braided Silk With 1/2 Cir Cd Cutting Needle 16 Mm Length 75 Cm 3/0 | 1 | 9665 |
| 384 | SUT384 | Black- Braided Silk With 3/8 Cir Reverse 2/0 Cutting Needle 45 Mm Length 76 Cm 2/0 | 1 | 6780 |
| 385 | SUT385 | Black- Braided Silk With 3/8 Cir Reverse 2/0 Cutting Needle 45 Mm Length 90 Cm 1 | 1 | 3400 |
| 386 | SUT386 | Black- Braided Silk Without Needle1 Reels X 25 Mts size 2/0 | 1 | 2420 |
| 387 | SUT387 | Black- Braided Silk Without Needle1 Reels X 25 Mts size 1/0 | 1 | 2060 |
| 388 | SUT388 | Black- Braided Silk Without Needle1 Reels X 25 Mts size 1 | 1 | 2050 |
| 389 | SUT389 | Black- Braided Silk Without Needle1 Reels X 25 Mts size 3/0 | 1 | 2070 |
| 390 | SUT390 | Polyamide Monofilament (Nylon) Black Mono Filament Length 38 Cm size 8/0 | 1 | 3062 |
| 391 | SUT391 | Polyamide Monofilament (Nylon) Black Mono Filament Length 100 Cm size 1/0 1/2 circle Reverse cutting 40 mm | 1 | 200 |
| 392 | SUT392 | Polyamide Monofilament (Nylon) Black Mono Filament Length 100 Cm size 2/0 1/2 circle Reverse cutting 45 mm | 1 | 1800 |
| 393 | SUT393 | Polyamide Monofilament (Nylon) Black Mono Filament Length 100 Cm size 3/0 1/2 circle Reverse cutting 26 mm | 1 | 1100 |
| 394 | SUT394 | Polyamide Monofilament (Nylon) With Cd Cut Needle 16 Mm Length 70 Cm size 4/0 | 1 | 4460 |
| 395 | SUT395 | Polyamide Monofilament (Nylon) With Cd Cut Needle 16 Mm Length 70 Cm size 3/0 | 1 | 3425 |
| 396 | SUT396 | Polyamide Monofilament (Nylon) With Cd R Cut Extra Penetrating Needle 16 Mm Length 70 Cm size 4/0 | 1 | 3265 |
| 397 | SUT397 | Polyamide Monofilament (Nylon) With Cd Reverse 5/0 Cut Needle 12 Mm Length 70 Cm size 5/0 | 1 | 3750 |
| 398 | SUT398 | Polyamide Monofilament (Nylon) With Cd Circle Rb Needle 40 Mm Length 100cm size 1/0 | 1 | 6100 |
| 399 | SUT399 | Polyamide Monofilament (Nylon) With Cd Cut Needle 20 Mm Length 70 Cm size 2/0 | 1 | 6075 |
| 400 | SUT400 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb D Needle 13 Mm Length 60 Cm size 5/0 | 1 | 3150 |
| 401 | SUT401 | Poly Propylene Monofilament Sterileprecut Black With Cd Rb Mp Needle 13 Mm Length 60 Cm 5/0 | 1 | 3105 |
| 402 | SUT402 | Poly Propylene Monofilament Sterileprecut With Black With Cd Rbmp Needle 8mm Length 60 Cm 7/0 | 1 | 3070 |
| 403 | SUT403 | Poly Propylene Monofilament Sterileprecut With Cd Rb D Needle 10 Mm Length 60 Cm 6/0 | 1 | 3270 |
| 404 | SUT404 | Poly Propylene Monofilament Sterileprecut With Rb D Needle 8 Mm Length 60cm 7/0 | 1 | 3110 |
| 405 | SUT405 | Poly Propylene Monofilament Sterileprecut With Cd Rb Needle 16 Mm Length 70 Cm 5/0 | 1 | 3150 |
| 406 | SUT406 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Needle 30 Mm Length 70 Cm 1/0 | 1 | 5340 |
| 407 | SUT407 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Needle 40 Mm Length 70 Cm size 1 | 1 | 3340 |
| 408 | SUT408 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Needle 16 Mm Length 70 Cm size 5/0 | 1 | 3170 |
| 409 | SUT409 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Needle 16 Mm Length 70 Cm size 4/0 | 1 | 3205 |
| 410 | SUT410 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Needle 25 Mm Length 70 Cm 3/0 | 1 | 3170 |
| 411 | SUT411 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Needle 30 Mm Length 70 Cm 2/0 | 1 | 3120 |
| 412 | SUT412 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Taper Cut Length 90 Cm 3/0 | 1 | 5070 |
| 413 | SUT413 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir tapercut 25 Mm Length 90 Cm 2/0 | 1 | 3070 |
| 414 | SUT414 | Poly Propylene Monofilament Sterileprecut With Cd Reverse Cutting Needle 6/0 | 1 | 3075 |
| 415 | SUT415 | Poly Propylene Monofilament Sterileprecut With Cd Rb Needle 13 Mm (82 Micron Lenth 60 Cm) 6/0 | 1 | 3175 |
| 416 | SUT416 | Poly Propylene Monofilament Sterileprecut With Cd Cut Rb Needle 16mm Length 60 Cm 4/0 | 1 | 3075 |
| 417 | SUT417 | Poly Propylene Monofilament Sterileprecut With Curved Cut Needle 22 Mm Length 70 Cm 3/0 | 1 | 3280 |
| 418 | SUT418 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Rb Heavy Needle 30mm Length 70 Cm size 1 | 1 | 6070 |
| 419 | SUT419 | Poly Propylene Monofilament Sterileprecut With Cutting Needle 45 Mm Length 100 Cm size 1 | 1 | 6070 |
| 420 | SUT420 | Poly Propylene Monofilament Sterileprecut With Curved 8/0 Rb Bv Double Needle 7.6 Mm Length 60 Cm 8/0 | 1 | 2570 |
| 421 | SUT421 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Cc Double Needle 13 Mm (Identical Guage Needle And Suture) Length 75cm 4/0 | 1 | 3070 |
| 422 | SUT422 | Poly Propylene Monofilament Sterileprecut With 1/2 Circc Double Needle (Indentical Guage Needle And Suture) 13 Mm Length 60 Cm 5/0 | 1 | 3070 |
| 423 | SUT423 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Taper Cut Double Needle 17 Mm, Length 90 Cm 2/0 | 1 | 3070 |
| 424 | SUT424 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Taper Cut Needle 25mm Length 90cm 2/0 | 1 | 3070 |
| 425 | SUT425 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Cc Double Needle 16 Mm Length 90 Cm 3/0 | 1 | 3070 |
| 426 | SUT426 | Poly Propylene Monofilament Sterileprecut With 1/2 Cir Taper Cut Double Needle 25 Mm Length 90 Cm 3/0 | 1 | 3090 |
| 427 | SUT427 | polyster braided coated With 1/2 Cir Rb D Needle 25 Mm Length 90 Cm size 3/0 | 1 | 3140 |
| 428 | SUT428 | polyster braided coated With 1/2 Cir Rb Needle 25 Mm Length 75 Cm 3/0 | 1 | 3020 |
| 429 | SUT429 | polyster braided coated With Cd White D Needle 25 Mm ( Curved Round Body ) Length 90 Cm 2/0 | 1 | 1120 |
| 430 | SUT430 | polyster braided coated With Cd White D Needle 25 Mm (Curved Reverse Cutting ) Length 90 Cm 2/0 | 1 | 1100 |
| 431 | SUT431 | polyster braided coated With Cd White D Needle 25 Mm (Taper Cut) Length 90 Cm 2/0 | 1 | 1000 |
| 432 | SUT432 | Coated Polyster With Cd Green Needle 17mm (Curved Reverse Cutting ) Length 90 Cm 2/0 | 1 | 930 |
| 433 | SUT433 | Coated Polyster With Cd Green Needle 17mm ( Curved Round Body ) Length 90 Cm 2/0 | 1 | 930 |
| 434 | SUT434 | Coated Polyster With Cd Green Needle 17mm ( Taper Cut ) Length 90 Cm 2/0 | 1 | 1140 |
| 435 | SUT435 | polyster braided coated With Cd White D Needle 17 Mm (Curved Reverse Cutting) Length 90 Cm 2/0 | 1 | 1000 |
| 436 | SUT436 | polyster braided coated With Cd White D Needle 17 Mm ( Curved Round Body ) Length 90 Cm 2/0 | 1 | 1000 |
| 437 | SUT437 | polyster braided coated With Cd White D Needle 17 Mm (Taper Cut) Length 90 Cm 2/0 | 1 | 1100 |
| 438 | SUT438 | Polybutylate Coated With Polyster Braided (Green) With 1/2 Cir Taper Cut V-5 Double Armed Needle 17 Mm Length 90 Cm 2/0 | 1 | 3120 |
| 439 | SUT439 | Polybutylate Coated With Polyster Braided (Green) With 1/2 Cir Taper Cut V-5 Double Armed Needle 25 Mm Length 90 Cm 2/0 | 1 | 3220 |
| 440 | SUT440 | polyster braided coated (Green) With 1/2 Cir Rb Double Needle 25 Mm Length 75 Cm 3/0 | 1 | 2500 |
| 441 | SUT441 | 2.6 Stainless Steel Needles & Wire | 1 | 1800 |
| 442 | SUT442 | 1/2 Cir Ccs Cut Needle 48 Mm Stainless Steel Length 45 Cm size 4 | 1 | 1750 |
| 443 | SUT443 | 1/2 Cir Ccs Cut Needle 48 Mm Stainless Steel Length 45 Cm size 6 | 1 | 2570 |
| 444 | SUT444 | 1/2 Cir Ccs Cut Needle 48 Mm Stainless Steel Length 45 Cm size 5 | 1 | 2750 |
| 445 | SUT445 | K Wire Length 375 Mm size 1 mm | 1 | 3800 |
| 446 | SUT446 | K Wire Length 375 Mm size 1.6 mm | 1 | 2800 |
| 447 | SUT447 | K Wire Length 375 Mm size 1.8 mm | 1 | 1800 |
| 448 | SUT448 | Poliglecaprone With 1/2 Cir Oval Rb Jb Needle 26 Mm Length 70 Cm 2/0 | 1 | 1970 |
| 449 | SUT449 | Poliglecaprone With 1/2 Cir Oval Rb Contrast Needle 26 Mm Length 70 Cm 3/0 | 1 | 2270 |
| 450 | SUT450 | Poliglecaprone With 3/8 Cir Cutting Needle 25 Mm 1/0 | 1 | 900 |
| 451 | SUT451 | Poliglecaprone With 3/8 Cir Cutting Needle 25 Mm 3/0 | 1 | 920 |
| 452 | SUT452 | Poliglecaprone With Curved 5/0 Reverse Cutting Needle 16 Mm 5/0 | 1 | 2020 |
| 453 | SUT453 | Poliglecaprone With 3/8 Cir Reverse Cutting Needle 16 Mm 4/0 | 1 | 3520 |
| 454 | SUT454 | Polydioxanone With 1/2 Cir Reverse Cutting Orthopaedic Surgery Needle 40 Mm. Length 90 Cm size 1 | 1 | 1520 |
| 455 | SUT455 | Polydioxanone With 3/8 Cir Round Body Needle 11 Mm. Length 45 Cm 6/0 | 1 | 1600 |
| 456 | SUT456 | Polydioxanone With 1/2 Cir Round Body Needle 30 Mm. Length 70 Cm 2/0 | 1 | 1652 |
| 457 | SUT457 | Polydioxanone With 1/2 Cir Round Body Needle 20 Mm. Length 70 Cm 3/0 | 1 | 1600 |
| 458 | SUT458 | Polydioxanone With 1/2 Round Body Heavy Needle 40 Mm. Length 90 Cm size 1 | 1 | 1750 |
| 459 | SUT459 | Polybutylate coated braided polyester 2/0 double needle tapercut 90 cm | 1 | 50 |
| 460 | SUT460 | Chromic Catgut (Absorbable) SutureComponent Partscomposed By Purified Animal Intestine (Cattle And Sheep) needle 1/2 circle round body 76 cm size 3/0 | 1 | 5500 |
| 461 | SUT461 | Chromic Catgut (Absorbable) Suture Component Parts composed By Purified Animal Intestine(Cattle And Sheep) needle 1/2 circle 30 mm round body 76 cm size 2/0 | 1 | 4800 |
| 462 | SUT462 | Chromic Catgut (Absorbable) Suture Component Parts composed By Purified Animal Intestine(Cattle And Sheep) needle 1/2 circle round body 76 cm size 4/0 | 1 | 4550 |
| 463 | SUT463 | Chromic Catgut (Absorbable) Suture Component Parts composed By Purified Animal Intestine(Cattle And Sheep) needle 1/2 circle 30 mm round body 76 cm size 1/0 | 1 | 1000 |
| 464 | SUT464 | Chromic Catgut (Absorbable) Suture Component Parts composed By Purified Animal Intestine(Cattle And Sheep) needle 1/2 circle 30 mm round body 76 cm size 1 | 1 | 1000 |
| 465 | SUT465 | Chromic Catgut with Glare free Black Needle, 1/2 Circle Round Body, 40 mm, Length 76 cm Size1 | 1 | 2050 |
| 466 | SUT466 | Chromic Catgut with Glare free Black Needle, 1/2 Circle Round Body, 40 mm, Length 76 cm Size1-0 | 1 | 2050 |
| 467 | SUT467 | Chromic Catgut with Glare free Black Needle, 1/2 Circle Round Body, 30 mm, Length 76 cm Size 2-0 | 1 | 2050 |
| 468 | SUT468 | Polyglactin 8 mm1/4 circle spatulated micropoint double needle length 45 cm size 6/0 | 1 | 4030 |
| 469 | SUT469 | Polyglactin 40 mm 1/2 circle round body 90 cm size 1 | 1 | 2550 |
| 470 | SUT470 | Polyglactin 45 mm 1/2 circle round body (Heavy) 100 cm size 1 | 1 | 2000 |
| 471 | SUT471 | Polyglactin 23 mm 1/2 circle reverse cutting (heavy) 45 cm Portt needle size 1/0 | 1 | 120 |
| 472 | SUT472 | Polyglactin 45 mm 1/2 circle round body 180 cm size 1 Double Needle | 1 | 200 |
| 473 | SUT473 | Polyglactin 30 mm 1/2 circle round body 180 cm size 1/0 Double Needle | 1 | 300 |
| 474 | SUT474 | Polyglactin 45 mm 1/2 circle round body 90 cm size 1 | 1 | 2200 |
| 475 | SUT475 | Polyglactin 30 mm 1/2 circle round body 90 cm size 1/0 | 1 | 2850 |
| 476 | SUT476 | Polyglactin 30 mm 1/2 circle round body 70 cm size 2/0 | 1 | 2750 |
| 477 | SUT477 | Polyglactin 30 mm 1/2 circle round body 70 cm size 3/0 | 1 | 2650 |
| 478 | SUT478 | Polyglactin 16 mm 1/2 circle round body 70 cm size 4/0 | 1 | 2550 |
| 479 | SUT479 | Polyglactin 16 mm 1/2 circle round body 45 cm size 5/0 | 1 | 2500 |
| 480 | SUT480 | Polyglactin 8 mm 1/4 circle Spatulated micropoint Double Needle round body 45 cm size 6/0 | 1 | 2530 |
| 481 | SUT481 | Polyglactin 35 mm 1/2 circle tapercut 90 cm size 2/0 Fast Absorbing | 1 | 2530 |
| 482 | SUT482 | Fast absorbing braided coated Polyglactic surgical suture 70 cm, 1/2 circle cutting, 22mm needle size 3/0 | 1 | 1750 |
| 483 | SUT483 | Antibacterial Polyglactin braided absorbable surgical suture 90cm, 1/2 circle round body, 40mm size 1 | 1 | 3050 |
| 484 | SUT484 | Antibacterial Polyglactin braided absorbable surgical suture 90cm, 1/2 circle round body, 40mm size 1/0 | 1 | 3200 |
| 485 | SUT485 | Antibacterial Polyglactin braided absorbable surgical suture 90cm, 1/2 circle round body, 30mm size 2/0 | 1 | 3050 |
| 486 | SUT486 | Antibacterial Polyglactin braided absorbable surgical suture 90cm, 1/2 circle round body, 20mm size 3/0 | 1 | 2900 |
| 487 | SUT487 | Antibacterial Polyglactin braided absorbable surgical suture 70cm, 1/2 circle round body, 20mm size 4/0 | 1 | 2600 |
| 488 | SUT488 | Antibacterial Polyglactin braided absorbable surgical suture 45cm, 1/2 circle oval, 16mm needle size 5/0 | 1 | 2500 |
| 489 | SUT489 | Antibacterial Polyglactin braided absorbable surgical suture 90cm, 1/2 circle reverse cutting size 1 | 1 | 1900 |
| 490 | SUT490 | Antibacterial Polyglactin braided absorbable surgical suture 90cm, 1/2 circle reverse cutting size 1/0 | 1 | 2250 |
| 491 | SUT491 | Black Braided silk 1-0 cutting needle | 1 | 100 |
| 492 | SUT492 | Black Braided silk 2-0 cutting needle | 1 | 100 |
| 493 | SUT493 | Polygalactin OS-6 1/2 circle reverse cutting 40mm needle | 1 | 200 |
| 494 | SUT494 | Polygalactin OS-8 1/2 circle reverse cutting 40mm needle | 1 | 200 |
| 495 | SUT495 | Polyamide Monofilament (Nylon) Black Mono Filament Length 100 Cm Size2/0 3/8 Circle Reverse cutting 45 mm | 1 | 1500 |
| 496 | SUT496 | 10-0 Double armed nylon monofilament with 3/8 circle taper point needle | 1 | 1000 |
| 497 | SUT497 | 8-0 Double armed nylon monofilament with 3/8 circle taper point needle | 1 | 1000 |
| 498 | SUT498 | 6-0 Silk braided with 3/8 circle reverse cuttig needle | 1 | 2500 |
| 499 | SUT499 | 6-0 Mersilene polyester monofilamet with 3/8 circle reverse cuttng needle | 1 | 2500 |
| 500 | SUT500 | 5-0 Mersilene polyester monofilamet with 3/8 circle reverse cuttng needle | 1 | 2500 |
| 501 | SUT501 | 5-0 Silk braided with 3/8 circle reverse cuttig needle | 1 | 2500 |
| 502 | SUT502 | 6-0 Double armed Polyglactin 910 coated with polyglactin 370 and calcium stearate monofilament with 1/4 circle spatulated needle | 1 | 2500 |
| 503 | SUT503 | 5-0 Double armed Polyglactin 910 coated with polyglactin 370 and calcium stearate monofilament with 1/4 circle spatulated needle | 1 | 2500 |
| 504 | SUT504 | 6-0 Chromic catgut monofilamet with 1/4 circle reverse cutting needle | 1 | 2500 |
| 505 | MES505 | Poly Propylene Mesh 15cm X 15cm | 1 | 7330 |
| 506 | MES506 | Poly Propylene Mesh 6 cm X 11cm | 1 | 1700 |
| 507 | MES507 | Poly Propylene Mesh 7.6x15cm | 1 | 200 |
| 508 | MES508 | Poly Propylene Mesh 10x20 cm | 1 | 50 |
| 509 | MES509 | Poly Propylene Mesh 30x30cm | 1 | 50 |
| 510 | MES510 | Poly Propylene soft mesh 7.6x15 | 1 | 200 |
| 511 | MES511 | Poly Propylene soft mesh 15x15 cm | 1 | 100 |
| 512 | MES512 | Polypropylene & Poleglecaprone partially absorbable composite mesh with large pore size 15 x 15 cm | 1 | 2570 |
| 513 | MES513 | Light weight composite mesh : Polypropylene & Poleglecaprone partially absorbable composite mesh with large pore size 6 x 11 cm | 1 | 2600 |
| 514 | MES514 | Light weight composite mesh : Polypropylene & Poleglecaprone partially absorbable composite mesh with large pore size 7.6 x 15 cm | 1 | 2550 |
| 515 | MES515 | Light weight composite mesh : Polypropylene & Poleglecaprone partially absorbable composite mesh with large pore size 10 x15 cm | 1 | 2550 |
| 516 | MES516 | Mesh fixation device with 25 absorbabale PDS material as Straps TACKERS | 1 | 2525 |
| 517 | MES517 | Flexible Composite mesh for Laproscopic Ventral Hernia repair with Polygecaprone, Soft Polypropylene & PDS Size 15x15 cm | 1 | 2530 |
| 518 | MES518 | Flexible Composite mesh for Laproscopic Ventral Hernia repair with Polygecaprone, Soft Polypropylene & PDS Size 10x15 cm | 1 | 2525 |
| 519 | MES519 | 2 Octyl Cyanoacrylate topical skin adhesvie for skin closure 0.5 ml in pen shaped applicator | 1 | 2600 |
| 520 | MES520 | Tension free Vaginal Tape (Obturator) for repair of stress urinary incontinece | 1 | 2000 |
| 521 | MES521 | Hernia System (partially absorbable material with onlay patch, connector & underlay patch) | 1 | 2100 |

| s no | item code | Item name | Unite | Total |
| --- | --- | --- | --- | --- |
| 522 | Rad522 | Casettes 10" X8" With High Speed Intensifying Screen | 1 | 123 |
| 523 | Rad523 | Casettes 12" X10" With High Speed Intensifying Screen | 1 | 123 |
| 524 | Rad524 | Casettes 15" X12" With High Speed Intensifying Screen | 1 | 123 |
| 525 | Rad525 | Cassette 12 X 15 | 1 | 98 |
| 526 | Rad526 | Cassette 10 X 12 | 1 | 96 |
| 527 | Rad527 | Cassette Screen 10 X 12 | 1 | 86 |
| 528 | Rad528 | Cassette Screen 12 X 15 | 1 | 86 |
| 529 | Rad529 | Cassette Screen 8 X 10 | 1 | 126 |
| 530 | Rad530 | Cassette 8 X 10 | 1 | 66 |
| 531 | Rad531 | Dental X-Ray Film | 1 | 5130 |
| 532 | Rad532 | Dry Laser Films 125sh 11x14cm Dvb | 1 | 10010 |
| 533 | Rad533 | Dry Laser Films 125sh 14x17cm Dvb | 1 | 10010 |
| 534 | Rad534 | Dry Laser Films 125sh 8x10cm Dvb | 1 | 25 |
| 535 | Rad535 | High Speed Screen 10"X12" X-Ray | 1 | 72 |
| 536 | Rad536 | High Speed Screen 6.5"X8.5" X-Ray | 1 | 72 |
| 537 | Rad537 | High Speed Screen 8"X10" X-Ray | 1 | 72 |
| 538 | Rad538 | Intensifying Screens 8"X10" | 1 | 34 |
| 539 | Rad539 | Intensifying Screens 12"X10" | 1 | 34 |
| 540 | Rad540 | Intensifying Screens 15"X12" | 1 | 45 |
| 541 | Rad541 | Mammography Casette With Intensifying Screen 18x24 Cm | 1 | 19 |
| 542 | Rad542 | Mammography Films 18x24 Cms Packets | 1 | 2080 |
| 543 | Rad543 | Radiation Protection Screen 6' X 3 " | 1 | 68 |
| 544 | Rad544 | Screens High Speed 12"X15" X-Ray 400 Speed | 1 | 107 |
| 545 | Rad545 | Screens High Speed 12"X15" X-Ray 800 Speed | 1 | 107 |
| 546 | Rad546 | X ray film 10 x 12 | 1 | 8900 |
| 547 | Rad547 | X ray films 12 x 15 | 1 | 8700 |
| 548 | Rad548 | Xray film 8 x 10 | 1 | 8200 |
| 549 | Rad549 | X-Ray Film Size 6.5 x 8.5 | 1 | 4170 |
| 550 | Rad550 | X-Ray Films Size- 10 x 12 | 1 | 3190 |
| 551 | Rad551 | X-Ray Films Size- 12 x 15 | 1 | 3320 |
| 552 | Rad552 | X-Ray Films Size- 8 x 10 | 1 | 2850 |
| 553 | Rad553 | Hanger 12 X 15 100 each | 1 | 550 |
| 554 | Rad554 | Hanger 10 X 12 100 each | 1 | 525 |
| 555 | Rad555 | Hanger 8 X 10 100 each | 1 | 525 |
| 556 | Rad556 | Channel Type Hangers For X-Ray Developping 10"X8" | 1 | 160 |
| 557 | Rad557 | Channel Type Hangers For X-Ray Developping 12"X10" | 1 | 165 |
| 558 | Rad558 | Channel Type Hangers For X-Ray Developping 15"X12" | 1 | 165 |
| 559 | Rad559 | Dental Film Hanger | 1 | 115 |
| 560 | Rad560 | X-Ray Hangers (Clip Type) 6.5"X8.5 | 1 | 365 |
| 561 | Rad561 | X-Ray Hangers (Clip Type) 8"X10" | 1 | 315 |
| 562 | Rad562 | Adhesive roll 1"x400" | 1 | 110 |
| 563 | Rad563 | Film Draining Clips Steel | 1 | 470 |
| 564 | Rad564 | Film Corner Cutter (max. cutting thickness 10 mm) | 1 | 27 |
| 565 | Rad565 | Film Cutter width 450 mm, length 0.1-50 mm cutting speed 240 cuts/min (up to 50mm) | 1 | 37 |
| 566 | Rad566 | Genital shields - 0.5 mm lead equivalent, measuring 24" widthx20" L (Adjustable), weight 5.2 Ibs | 1 | 38 |
| 567 | Rad567 | Lead aprons medium 22 "wx36" L, 11 Ibs (Thickness to lead equivalent 0.5 mm ) | 1 | 136 |
| 568 | Rad568 | Lead aprons Large - 24"x38" L 11 Ibs (Thickness to lead equivalent 0.5 mm ) | 1 | 0 |
| 569 | Rad569 | Lead Gloves Size 5 No | 1 | 105 |
| 570 | Rad570 | Lead Gloves Size 7 No | 1 | 35 |
| 571 | Rad571 | Lead Goggles Lens should be 0.75 mm lead equivalent | 1 | 36 |
| 572 | Rad572 | Lead Letter (Right & Left) | 1 | 288 |
| 573 | Rad573 | Lead Letter 0-9 Sets | 1 | 338 |
| 574 | Rad574 | Lead Letter A To Z Set | 1 | 338 |
| 575 | Rad575 | Lead partition ABC type (4’x6’) | 1 | 92 |
| 576 | Rad576 | Radiation Protection Device Lead 6x15 | 1 | 121 |
| 577 | Rad577 | Radiation Protection Device Lead 10x12 | 1 | 35 |
| 578 | Rad578 | Radiation Protection Device Lead 6x12 | 1 | 35 |
| 579 | Rad579 | Safe Light | 1 | 43 |
| 580 | Rad580 | Thyroid Shield small 22.5" thickness 0.3 mm | 1 | 50 |
| 581 | Rad581 | Thyroid Shield Large 25.5" thickness 0.3 mm | 1 | 0 |
| 582 | Rad582 | Tripal Layer Polythylene Extension Tube (For Artery/Venous Pressure) L-100 | 1 | 2 |
| 583 | Rad583 | Tripal Layer Polythylene Extension Tube (For Artery/Venous Pressure) L-150 | 1 | 2 |
| 584 | Rad584 | Tripal Layer Polythylene Extension Tube (For Artery/Venous Pressure) L-200 | 1 | 2 |
| 585 | Rad585 | Ultrasound Thermal Printer Rolls high glossy -110 mmx20m | 1 | 6200 |
| 586 | Rad586 | Developer 22.5 Lit | 1 | 1872 |
| 587 | Rad587 | Fixer 22.5 Lit | 1 | 1872 |
| 588 | Rad588 | Developer Powder (22.5 ltr) | 1 | 1610 |
| 589 | Rad589 | Fixer Powder ( 22.5 ltr) | 1 | 1560 |
| 590 | Rad590 | Diatrizoate Meglumine & diatrizoate sodium 76% injection 10ml ampoule | 1 | 34100 |
| 591 | Rad591 | Diatrizoate Meglumine & diatrizoate sodium 65% injection 10ml ampoule | 1 | 1900 |
| 592 | Rad592 | Diatrizoate Meglumine & diatrizoate sodium oral solution 30 ml | 1 | 500 |
| 593 | Rad593 | Iohexol 50ml solution | 1 | 550 |
| 594 | Rad594 | Barium sulphate oral 250 ml | 1 | 700 |
| 595 | Rad595 | Barium sulphate enema standard size | 1 | 400 |
| 596 | Rad596 | Sonography Jelly 5 Ltr. | 1 | 11800 |
| 597 | Rad597 | X-Ray View Box 2'x4' | 1 | 15 |
| 598 | Rad598 | X-Ray Film Dryer 50 Films | 1 | 10 |
| 599 | Rad599 | Urografin 76% 500 ml | 1 | 310 |
| 600 | Rad600 | X-Ray View Box for 2 films | 1 | 10 |
| 601 | Rad601 | X-Ray View Box for 3 films | 1 | 10 |
| 602 | Rad602 | X-Ray View Box for 4 films | 1 | 10 |
| 603 | Rad603 | X-Ray View Box for 6 films | 1 | 10 |